## Table
TNI PT for Accreditation
Fields of Proficiency Testing with PTRLs
Drinking Water
Effective: November 1, 2023
[5 empty] | Blue = New Analyte | Magenta = Changes
Matrix | EPA | TNI |  | Analyte | Conc Range | Acceptance Criteria1,2,3,4 |  |  |  | TNI PTRL5
| Analyte | Analyte | CAS |  |  | a | b | c | d
| Code | Code | Number
|  |  |  | Radiochemistry | pCi/L (except as noted) |  |  |  |  | pCi/L
Drinking Water | 0001 | 2830 | NA | Gross alpha | 7 to 75 | 1 | 0 | 0.1 | 1.2306 | 3.1
Drinking Water | 0002 | 2840 | NA | Gross beta | 8 to 75 | 1 | 0 | 0.1 | 1.6408 | 3.1
Drinking Water | 0008 | 2875 | 10043-66-0 | Iodine-131 | 3 to 30 | 1 | 0 | 0.05 | 0.4602 | 1.8
Drinking Water | 0012 | 2965 | 13982-63-3 | Radium-226 | 1 to 20 | 1 | 0 | 0.05 | 0.4602 | 0.1
Drinking Water | 0013 | 2970 | 15262-20-1 | Radium-228 | 2 to 20 | 1 | 0 | 0.1 | 0.4102 | 0.8
Drinking Water | 0014 | 3055 | 7440-61-1 | Uranium (activity) | 2 to 70 | 1 | 0 | 0.05 | 0.3084 | 1.2
Drinking Water | 0014 | 1184 | 7440-61-1 | Uranium (mass) | 3 to 104 ug/L | 1 | 0 | 0.05 | 0.4602 | 1.8 ug/L
Drinking Water | 0009 | 2995 | 14158-27-1 | Strontium-89 | 10 to 70 | 1 | 0 | 0.05 | 4.602 | 1.0
Drinking Water | 0010 | 3005 | 10098-97-2 | Strontium-90 | 3 to 45 | 1 | 0 | 0.05 | 0.9204 | 0.86
Drinking Water | 0011 | 3030 | 10028-17-8 | Tritium | 1000 to 24000 | 1 | 0 | 0.05 | 460.2041 | 100
Gamma Emitters6
Drinking Water | 0007 | 2765 | 13981-41-4 | Barium-133 | 10 to 100 | 1 | 0 | 0.05 | 4.602 | 1.0
Drinking Water | 0005 | 2800 | 13967-70-9 | Cesium-1347 | 10 to 100 | 1 | 0 | 0.05 | 4.602 | 1.0
Drinking Water | 0006 | 2805 | 10045-97-3 | Cesium-1377 | 20 to 240 | 1 | 0 | 0.05 | 9.2041 | 2.0
Drinking Water | 0003 | 2815 | 10198-40-0 | Cobalt-60 | 10 to 120 | 1 | 0 | 0.05 | 4.602 | 1.0
Drinking Water | 0004 | 3070 | 13982-39-3 | Zinc-65 | 30 to 360 | 1 | 0 | 0.05 | 13.8061 | 3.0
1) Acceptance limits are set at the Mean ± 2 SD
(Mean = a*T + b; SD = c*T + d where T is the assigned value).
2) If the lower acceptance limit generated using the criteria contained in this table is less than (<) 10% of the assigned value, the lower acceptance limits are set
at 10% of the assigned value.
3) If the lower acceptance limit generated using the criteria contained in this table is greater than (>) 90% of the assigned value, the lower acceptance limits are set
at 90% of the assigned value.
4) If the upper acceptance limit generated using the criteria contained in this table is less than (<) 110% of the assigned value, the upper acceptance limits are set
at 110% of the assigned value.
5) TNI Proficiency Testing Reporting Limit (PTRL) is a statistically derived value that represents the lowest acceptable concentration for an analyte in a proficiency test
sample, if the analyte is spiked into the proficiency test sample.
TNI PTRLs are also used by PT Providers to set the assigned value for unspiked analytes. For all analytes with an assigned value equal to <PTRL, the PT Provider
must verify that the PT sample does not contain the analyte at a concentration greater than or equal to one-half (1/2) of the PTRL.
Refer to the "TNI V1M1 2016 Standard Update Guidance on Proficiency Testing Reporting Limit (PTRL)", GUID-3-114-Rev0, October 15, 2018 for further information.
6) Laboratories seeking or maintaining TNI accreditation for Gamma (Photon) Emitters must meet TNI PT requirements for all Gamma Emitter
analytes in the Fields of Proficiency Testing in a given PT study, by technology/method (Barium-133, Cesium-134, Cesium-137, Cobalt-60, Zinc-65).
7) Laboratories seeking or maintaining TNI accreditation for Radioactive Cesium must meet TNI PT requirements for both Radioactive Cesium
analytes in the Fields of Proficiency Testing in a given PT study, by technology/method (Cesium-134, Cesium-137).

## Change Log
Drinking Water (DW) - Radiochemistry - FoPT Table Change Log
Effective Date | Change
2007-10-01 | Formatting changes (color coding and logo) to standardize FoPT Tables (posted to website 10-15-2018)
TBD | CAS Numbers added and analyte names updated for congruity with LAMS
TBD | Acceptance criteria and PTRLs updated for all analytes
2022-11-18 | Updated Footnotes to be consistent with other FoPT Tables
Updated Uranium FoPTs to match LAMS
2023-03-24 | Assigned effective dateof 10/01/23 after final committee review and final AC comment period
09/01/23
2023-04-28 | Updaed effective data and re-voted on PTPEC call