## Comments
INTERIM STANDARD. ELV1M4, SECTIONS 1.5.1 AND 1.5.2 (DETECTION AND QUANTITATION). JANUARY 2016. RESPONSE TO COMMENTS
Vote tally: Abstain 1; Affirmative 46; Affirmative with Comment 2; Negative with Comment 3
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Vote | Section | Comment | Disposition | Change/Reasoning
Affirmative with comment | 1.5.2.1.2 | The new MDL procedure can't be performed except over the course of multiple days. If the ongoing verification of the MDL fails (see the second paragraph of 1.5.2.1.2), the laboratory shall determine a new MDL. Is it the intent of this procedure that no data can be produced by this method during this timeframe, as no valid MDL would exist? | Persuasive | Language edited to allow generation of a new MDL within 30 calendar days
Negative with comment |  | I believe the TNI Standard should not require the LOQ to be at least 3 times the MDL. This is a very good rule of thumb but exceptions to this need to be made for some problematic analytes. This general rule of thumb should not be a requirement, but should have some flexibility for the labs to decide on a case by case basis. I also believe that we need to wait until the 40CFR136 MDL is officially changed before adopting these changes. The proverbial cart is being placed before the horse here...... | Non-Persuasive | Point 1: This was not part of the standard that was changed for the interim standard, and so cannot be changed at this stage. We will consider for the next update. Point 2: We have to propose the changes now since the TNI standard will not be implemented until 2017
Negative with comment | 1.5.2.3 | NEGATIVE, WITH COMMENT V1M4, Section 1.5.2.3 Rationale: The current requirement to verify the LOD or the LOQ for each matrix, method, and analyte annually is the only standard left in the Volume 1, Module 4 Chemistry section that explicitly specifies any kind of requirement and frequency for the accredited laboratory to prove to the Primary NELAP Accreditation Body that it can achieve accuracy, precision, sensitivity, and selectivity for EACH accredited analyte, method, and matrix on some defensible basis. Laboratories may never get a sample for certain oddball, rarely-analyzed analytes (and matrices in some cases), and the laboratory usually never agrees to relinquish accreditation voluntarily for such analytes. Therefore, I cannot approve of the proposed Section 1.5.2.3 as presented without any concurrent change to the Demonstration of Capability section to require a continuing demonstration of capability for EACH accredited matrix, method, and analyte for the laboratory on an on-going annual (or biannual?) basis. The Expert Committee apparently did not "take the hint" when I proposed the 1.6.2.2.1(e) and 1.6.2.2.2(e) sections during the Voting Draft Standard voting stage. Proposed change that would prompt me to change my vote to "Affirmative": Section 1.5.2.3: If no analyses for an accredited matrix-method-analyte Field of Accreditation were performed in a given calendar year, then the verification of the MDL/LOQ shall be performed for that Field of Accreditation within the calendar year (annually) employing all sample processing steps (e.g., digestion, dilution, distillation, extraction, cleanup, and analysis on at least one instrument) needed for the matrix-method-analyte. Alternatively, I would change my vote to "Affirmative" if the Expert Committee made the following IMMEDIATE addition to the Continuing Demonstration of Capability language in section 1.6.3.1, as an additional new last sentence (but I doubt that the Chemistry Expert Committee will be able to change this section at this time): Section 1.6.3.1 new last sentence: At a minimum, to prove on-going capability when no analyses are performed for a given accredited matrix-method-analyte Field of Accreditation in a given calendar year, at least one analyst in the laboratory (or as many analysts as needed) shall perform a Continuing DOC for that Field of Accreditation within the calendar year (annually) employing all sample processing steps (e.g., digestion, dilution, distillation, extraction, cleanup, and analysis on at least one instrument) needed for the matrix-method-analyte. | Persuasive | The committee has issued a SIR indicating that an IDOC has to be performed for each analyte matrix combination if there has been no other testing for that analyte / matrix in a 12 month period. The standard also requires that a new initial MDL study be performed prior to reporting data in this situation.
Affirmative with comment | 1.5.2.1.2 | Section 1.5.2.1.2 The quarterly verification of MDLs is a burden for some multicomponent analyses such as pesticides or BNAs that have a large number of components. The burden could be alleviated to some extent by modifying this requirement to include two verifications every six months. Doing so, provides labs more flexibility in conducting the MDL verifications. | Non-Persuasive | This was not part of the standard that was changed for the interim standrd - and so cannot be changed at this stage. We will consider this edit for the next revision, although it might make the standard non-compatible with the EPA MDL.
Negative with comment | 1.5.2.1 and 1.5.2.1.1 | Sections 1.5.2.1 and 1.5.2.1.1 do not require any adherence to quality control requirements such as recovery. Since you are allowing the use of low level spikes for MDL determinations, should there be a requirement to meet the accepted range for recovery of the low level spikes? | Non-Persuasive | We considered the possibility of applying recovery criteria at considerable length, but ultimately decided that it was not possible due to the wide range of expected performance for different method / analyte combinations. We may reconsider for the next update when more data are available.