## Table
NELAC PT for Accreditation
Fields of Proficiency Testing with PTRLs
Drinking Water
Effective: July 1, 2019
|  |  |  | Blue = New Analyte | Magenta = Changes
Matrix | EPA | NELAC | Analyte2 | Conc Range | Acceptance Criteria3,4,5,6 |  |  |  | NELAC PTRL7
| Analyte | Analyte |  |  | a | b | c | d
| Code | Code
|  |  | Microbiology | CFU/100 mL |  |  |  |  | CFU/100 mL
Drinking Water | 0254 | 2500 | Total Coliform8,9,10 |  | Nine out of ten correct with no false negatives |  |  |  | Not Applicable
Drinking Water | 0255 | 2530 | Fecal Coliform8,9,10 |  | Nine out of ten correct with no false negatives |  |  |  | Not Applicable
Drinking Water |  | 2525 | E.coli8,9,10 |  | Nine out of ten correct with no false negatives |  |  |  | Not Applicable
|  |  |  | CFU (MPN)/mL |  |  |  |  | CFU (MPN)/mL
Drinking Water | 0258 | 2555 | Heterotrophic Plate Count (MF, PP)11 | 5 to 500 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water | 0258 | 2555 | Heterotrophic Plate Count (MPN)12 | 5 to 500 | Log transform Mean ± 2 SD |  |  |  | 2
|  |  |  | CFU (MPN)/100 mL |  |  |  |  | CFU (MPN)/100 mL
Drinking Water |  | 2525 | E.coli (MF)11 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water |  | 2525 | E.coli (MPN)12 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water | 0255 | 2530 | Fecal Coliform (MF)11 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water | 0255 | 2530 | Fecal Coliform (MPN)12 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water | 0254 | 2500 | Total Coliform (MF)11 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
Drinking Water | 0254 | 2500 | Total Coliform (MPN)12 | 20 to 200 | Log transform Mean ± 2 SD |  |  |  | 2
|  |  | Trace Metals | µg/L |  |  |  |  | µg/L
Drinking Water | 0235 | 1000 | Aluminum | 130 to 1000 | ± 20% at < 500 ± 15% ≥ 500 fixed acceptance limit |  |  |  | 104
Drinking Water | 0140 | 1005 | Antimony1 | 6 to 50 | ±30% fixed acceptance limit |  |  |  | 4.2
Drinking Water | 0001 | 1010 | Arsenic1 | 5 to 50 | ±30% fixed acceptance limit |  |  |  | 3.5
Drinking Water | 0002 | 1015 | Barium1 | 500 to 3000 | ±15% fixed acceptance limit |  |  |  | 420
Drinking Water | 0141 | 1020 | Beryllium1 | 2 to 20 | ±15% fixed acceptance limit |  |  |  | 1.7
Drinking Water | 0226 | 1025 | Boron | 800 to 2000 | ±15% fixed acceptance limit |  |  |  | 680
Drinking Water | 0003 | 1030 | Cadmium1 | 2 to 50 | ±20% fixed acceptance limit |  |  |  | 1.6
Drinking Water | 0004 | 1040 | Chromium1 | 10 to 200 | ±15% fixed acceptance limit |  |  |  | 8.5
Drinking Water |  | 1045 | Hexavalent Chromium (VI) | 5 to 50 | ±20% fixed acceptance limit |  |  |  | 4
Drinking Water | 0091 | 1055 | Copper1 | 50 to 2000 | ±10% fixed acceptance limit |  |  |  | 45
Drinking Water | 0284 | 1070 | Iron | 100 to 1800 | ± 20% at < 250 ± 15% ≥ 250 fixed acceptance limit |  |  |  | 80
Drinking Water | 0005 | 1075 | Lead1 | 5 to 100 | ±30% fixed acceptance limit |  |  |  | 3.5
Drinking Water | 0236 | 1090 | Manganese | 40 to 900 | ±15% fixed acceptance limit |  |  |  | 34
Drinking Water | 0006 | 1095 | Mercury1,13a | 0.5 to 10 | ±30% fixed acceptance limit |  |  |  | 0.35
Drinking Water | 0237 | 1100 | Molybdenum | 15 to 130 | ±15% fixed acceptance limit |  |  |  | 13
Drinking Water | 0142 | 1105 | Nickel | 10 to 500 | ±15% fixed acceptance limit |  |  |  | 8.5
Drinking Water | 0007 | 1140 | Selenium1 | 10 to 100 | ±20% fixed acceptance limit |  |  |  | 8
Drinking Water | 0008 | 1150 | Silver | 20 to 300 | ±30% fixed acceptance limit |  |  |  | 14
Drinking Water | 0143 | 1165 | Thallium1 | 2 to 10 | ±30% fixed acceptance limit |  |  |  | 1.4
Drinking Water | 0238 | 1185 | Vanadium | 50 to 1000 | ±15% fixed acceptance limit |  |  |  | 42
Drinking Water | 0239 | 1190 | Zinc | 200 to 2000 | ±15% fixed acceptance limit |  |  |  | 170
|  |  | Nutrients | mg/L
Drinking Water | 0009 | 1810 | Nitrate as N1 | 3 to 10 | ±10% fixed acceptance limit |  |  |  | 2.7
Drinking Water |  | 1820 | Nitrate + Nitrite as N | 3 to 10 | ±15% fixed acceptance limit |  |  |  | 2.6
Drinking Water | 0092 | 1840 | Nitrite as N1 | 0.4 to 2 | ±15% fixed acceptance limit |  |  |  | 0.34
Drinking Water | 0261 | 1870 | Orthophosphate as P | 0.5 to 5.5 | ±15% fixed acceptance limit |  |  |  | 0.43
|  |  | Minerals | mg/L |  |  |  |  | mg/L
Drinking Water | 0287 | 1575 | Chloride | 20 to 160 | ±15% fixed acceptance limit |  |  |  | 17
Drinking Water | 0010 | 1730 | Fluoride1 | 1 to 8 | ±10% fixed acceptance limit |  |  |  | 0.9
Drinking Water | 0145 | 2000 | Sulfate | 25 to 250 | ±15% fixed acceptance limit |  |  |  | 21
Drinking Water | 0286 | 1125 | Potassium | 10 to 40 | ±15% fixed acceptance limit |  |  |  | 8.5
Drinking Water | 0029 | 1155 | Sodium | 12 to 50 | ±15% fixed acceptance limit |  |  |  | 11
Drinking Water | 0283 | 1035 | Calcium | 30 to 90 | ±15% fixed acceptance limit |  |  |  | 26
Drinking Water | 0285 | 1085 | Magnesium | 2 to 20 | ±15% fixed acceptance limit |  |  |  | 1.7
Drinking Water | 0025 | 1550 | Ca Hardness as CaCO3 | 75 to 225 | ±15% fixed acceptance limit |  |  |  | 64
Drinking Water |  | 1755 | Total Hardness as CaCO3 | 83 to 307 | ±15% fixed acceptance limit |  |  |  | 71
|  |  | Inorganic Disinfection By-Products | µg/L |  |  |  |  | µg/L
Drinking Water | 0193 | 1535 | Bromate1 | 7 to 50 | ±30% fixed acceptance limit |  |  |  | 4.9
Drinking Water | 0260 | 1540 | Bromide | 50 to 300 | ±15% fixed acceptance limit |  |  |  | 42
Drinking Water | 0194 | 1570 | Chlorate | 60 to 180 | ±30% fixed acceptance limit |  |  |  | 42
Drinking Water | 0195 | 1595 | Chlorite1 | 100 to 1000 | ±30% fixed acceptance limit |  |  |  | 70
|  |  | Misc Analytes | mg/L |  |  |  |  | mg/L
Drinking Water | 0027 | 1505 | Alkalinity as CaCO3/L | 25 to 200 | ±10% fixed acceptance limit |  |  |  | 22
Drinking Water | 0253 | 1520 | Asbestos1 | 1.5 to 20 MF/L | study mean |  | 0.2971 | 0.4164 | 1 MF/L
Drinking Water |  | 1620 | Corrosivity13i | -4 to +4 SI units | ± 0.4 SI units fixed acceptance |  |  |  | Not Applicable
Drinking Water | 0146 | 1635 | Cyanide1,13b | 0.1 to 0.5 | ±25% fixed acceptance limit |  |  |  | 0.075
Drinking Water |  | 1710 | Dissolved Organic Carbon (DOC) | 1.3 to 13 | 0.9744 | 0.09602 | 0.04017 | 0.06995 | 1.1
Drinking Water |  | 1895 | Perchlorate | 4 to 20 µg/L | ±20% fixed acceptance limit |  |  |  | 3.2 ug/L
Drinking Water | 0026 | 1900 | pH | 5 to 10 units | ± 0.2 units fixed acceptance limit |  |  |  | Not Applicable
Drinking Water | 0022 | 1945 | Residual Free Chlorine | 0.5 to 3.0 | 0.99998 | 0.00038 | 0.07755 | 0.0246 | 0.37
Drinking Water |  | 1990 | Silica as SiO2 | 5 to 75 | ±15% fixed acceptance limit |  |  |  | 4.2
Drinking Water | 0288 | 1610 | Specific Conductance | 130 to 1300 µmhos/cm | ±10% fixed acceptance limit |  |  |  | 117 µmhos/cm
Drinking Water |  | 2025 | Surfactants - MBAS | 0.1 to 1.0 | 0.98039 | 0.0054 | 0.06732 | 0.03481 | 0.02
Drinking Water |  | 1940 | Total Residual Chlorine | 0.5 to 3.0 | 1 | -0.00481 | 0.07234 | 0.00651 | 0.4
Drinking Water | 0024 | 1955 | Total Filterable Residue | 100 to 1000 | ±20% fixed acceptance limit |  |  |  | 80
Drinking Water | 0263 | 2040 | Total Organic Carbon | 1.3 to 13 | ±20% fixed acceptance limit |  |  |  | 1
Drinking Water | 0023 | 2055 | Turbidity1,13c | 0.5 to 8 NTU | 0.97554 | 0.05934 | 0.05647 | 0.06613 | 0.36 NTU
Drinking Water |  | 2060 | UV 254 Absorbance | 0.05 to 0.7 cm-1 | 0.99188 | 0.00428 | 0.08718 | 0.00337 | 0.038 cm-1
|  |  | Volatile Organic Compounds (VOCs) | µg/L |  |  |  |  | µg/L
Drinking Water | 0039 | 4375 | Benzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0037 | 4455 | Carbon Tetrachloride1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0049 | 4475 | Chlorobenzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0054 | 4610 | 1,2-Dichlorobenzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0041 | 4620 | 1,4-Dichlorobenzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0035 | 4635 | 1,2-Dichloroethane1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0034 | 4640 | 1,1-Dichloroethylene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0043 | 4645 | Cis-1,2-Dichloroethylene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0042 | 4700 | Trans-1,2-Dichloroethylene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0055 | 4975 | Dichloromethane (Methylene Chloride)1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0044 | 4655 | 1,2 Dichloropropane1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0048 | 4765 | Ethylbenzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0053 | 5100 | Styrene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0040 | 5115 | Tetrachloroethylene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0047 | 5140 | Toluene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0036 | 5160 | 1,1,1-Trichloroethane1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0061 | 5165 | 1,1,2-Trichloroethane1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0038 | 5170 | Trichloroethylene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0076 | 5155 | 1,2,4-Trichlorobenzene1 | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0032 | 5235 | Vinyl Chloride1 | 2 to 50 | ±40% fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0090 | 5260 | Total Xylenes1,14 | 2 to 50 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
|  |  |  | µg/L |  |  |  |  | µg/L
Drinking Water | 0019 | 4395 | Bromodichloromethane1 | 5 to 50 | ±20% fixed acceptance limit |  |  |  | 4
Drinking Water | 0018 | 4400 | Bromoform1 | 5 to 50 | ±20% fixed acceptance limit |  |  |  | 4
Drinking Water | 0020 | 4575 | Chlorodibromomethane1 | 5 to 50 | ±20% fixed acceptance limit |  |  |  | 4
Drinking Water | 0017 | 4505 | Chloroform1 | 5 to 50 | ±20% fixed acceptance limit |  |  |  | 4
|  |  | Volatile Organic Compounds (VOCs) cont' | µg/L |  |  |  |  | µg/L
Drinking Water | 0067 | 4385 | Bromobenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0089 | 4390 | Bromochloromethane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0069 | 4950 | Bromomethane | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0079 | 4435 | n-Butylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0086 | 4440 | Sec-Butylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0085 | 4445 | Tert-Butylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0070 | 4485 | Chloroethane | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0068 | 4960 | Chloromethane | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0071 | 4535 | 2-Chlorotoluene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0072 | 4540 | 4-Chlorotoluene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0057 | 4595 | Dibromomethane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0066 | 4615 | 1,3-Dichlorobenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0088 | 4625 | Dichlorodifluoromethane | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0056 | 4630 | 1,1-Dichloroethane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0059 | 4660 | 1,3-Dichloropropane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0060 | 4665 | 2,2-Dichloropropane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0058 | 4670 | 1,1-Dichloropropene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0152 | 4680 | Cis-1,3-Dichloropropene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0153 | 4685 | Trans-1,3-Dichloropropene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0081 | 4835 | Hexachlorobutadiene | 5 to 50 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 3
Drinking Water | 0084 | 4900 | Isopropylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0083 | 4910 | 4-Isopropyltoluene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water |  | 5000 | Methyl-tert-butylether (MTBE) | 5 to 50 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 3
Drinking Water |  | 5005 | Naphthalene | 5 to 50 | ± 40% at < 10 ± 30% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0078 | 5090 | n-Propylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0063 | 5105 | 1,1,1,2-Tetrachloroethane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0065 | 5110 | 1,1,2,2-Tetrachloroethane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0077 | 5150 | 1,2,3-Trichlorobenzene | 5 to 50 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 3
Drinking Water | 0087 | 5175 | Trichlorofluoromethane | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0064 | 5180 | 1,2,3-Trichloropropane | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0075 | 5210 | 1,2,4-Trimethylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
Drinking Water | 0082 | 5215 | 1,3,5-Trimethylbenzene | 2 to 20 | ± 40% at < 10 ± 20% ≥ 10 fixed acceptance limit |  |  |  | 1.2
|  |  | Low-Level Volatile Organic Compounds | µg/L |  |  |  |  | µg/L
Drinking Water | 0045 | 4570 | 1,2-Dibromo-3-chloropropane (DBCP)1 | 0.1 to 2 | ±40% fixed acceptance limit |  |  |  | 0.06
Drinking Water | 0046 | 4585 | Ethylene Dibromide (EDB)1 | 0.05 to 2 | ±40% fixed acceptance limit |  |  |  | 0.03
Drinking Water |  | 5180 | 1,2,3-Trichloropropane | 0.2 to 2.0 | ±40% fixed acceptance limit |  |  |  | 0.12
|  |  | Pesticides | µg/L |  |  |  |  | µg/L
Drinking Water | 0093 | 7005 | Alachlor1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water | 0256 | 7025 | Aldrin | 0.2 to 2.5 | 0.86179 | -0.00117 | 0.20253 | 0.00535 | 0.08
Drinking Water | 0094 | 7065 | Atrazine1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water |  | 7160 | Butachlor | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water | 0097 | 7250 | Chlordane (technical)1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water | 0258 | 7470 | Dieldrin | 0.5 to 2.5 | ±45% fixed acceptance limit |  |  |  | 0.28
Drinking Water | 0011 | 7540 | Endrin1 | 0.2 to 2.5 | ±30% fixed acceptance limit |  |  |  | 0.14
Drinking Water | 0095 | 7685 | Heptachlor1 | 0.2 to 2.5 | ±45% fixed acceptance limit |  |  |  | 0.11
Drinking Water | 0096 | 7690 | Heptachlor Epoxide (beta)1 | 0.2 to 2.5 | ±45% fixed acceptance limit |  |  |  | 0.11
Drinking Water | 0172 | 6275 | Hexachlorobenzene1 | 0.5 to 5 | 0.87273 | 0.00484 | 0.17954 | 0.01954 | 0.22
Drinking Water | 0112 | 6285 | Hexachlorocyclopentadiene1 | 2 to 20 | 0.85079 | 0.08818 | 0.27156 | 0.10728 | 0.49
Drinking Water | 0012 | 7120 | Lindane1 | 0.2 to 2.5 | ±45% fixed acceptance limit |  |  |  | 0.11
Drinking Water | 0013 | 7810 | Methoxychlor1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water |  | 7835 | Metolachlor | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water |  | 7845 | Metribuzin | 2 to 20 | ±50% fixed acceptance limit |  |  |  | 1
Drinking Water | 0259 | 8045 | Propachlor | 1 to 10 | ±45% fixed acceptance limit |  |  |  | 0.55
Drinking Water | 0113 | 8125 | Simazine1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water | 0014 | 8250 | Toxaphene (total)1 | 2 to 20 | ±45% fixed acceptance limit |  |  |  | 1.1
Drinking Water | 0244 | 8295 | Trifluralin | 1 to 10 | ±45% fixed acceptance limit |  |  |  | 0.55
|  |  | Carbamates & Vydate | µg/L |  |  |  |  | µg/L
Drinking Water | 0098 | 7010 | Aldicarb | 15 to 100 | ±25% fixed acceptance limit |  |  |  | 11
Drinking Water | 0099 | 7015 | Aldicarb Sulfone | 15 to 100 | ±25% fixed acceptance limit |  |  |  | 11
Drinking Water | 0100 | 7020 | Aldicarb Sulfoxide | 15 to 80 | ±25% fixed acceptance limit |  |  |  | 11
Drinking Water |  | 7195 | Carbaryl | 15 to 100 | ±25% fixed acceptance limit |  |  |  | 11
Drinking Water | 0101 | 7205 | Carbofuran1 | 15 to 150 | ±45% fixed acceptance limit |  |  |  | 8.3
Drinking Water |  | 7710 | 3-Hydroxycarbofuran | 15 to 80 | ±20% fixed acceptance limit |  |  |  | 12
Drinking Water | 0245 | 7805 | Methomyl | 15 to 100 | ±20% fixed acceptance limit |  |  |  | 12
Drinking Water | 0114 | 7940 | Oxamyl (Vydate)1 | 15 to 100 | ±25% fixed acceptance limit |  |  |  | 11
|  |  | Chlorinated Acid Herbicides13d | µg/L |  |  |  |  | µg/L
Drinking Water | 0262 | 8505 | Acifluorfen | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
Drinking Water | 0015 | 8545 | 2,4-D1,13e | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
Drinking Water |  | 8560 | 2,4-DB | 20 to 120 | ±50% fixed acceptance limit |  |  |  | 10
Drinking Water | 0115 | 8555 | Dalapon1 | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
Drinking Water | 0247 | 8595 | Dicamba | 20 to 100 | ±50% fixed acceptance limit |  |  |  | 10
Drinking Water | 0116 | 8620 | Dinoseb1 | 7 to 70 | 0.84798 | 0.84135 | 0.26279 | 0.00436 | 3.1
Drinking Water | 0102 | 6605 | Pentachlorophenol1 | 1 to 25 | ±50% fixed acceptance limit |  |  |  | 0.5
Drinking Water | 0117 | 8645 | Picloram1 | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
Drinking Water | 0016 | 8650 | 2,4,5-TP (Silvex)1 | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
Drinking Water |  | 8655 | 2,4,5-T | 10 to 100 | ±50% fixed acceptance limit |  |  |  | 5
|  |  | Other Herbicides | µg/L |  |  |  |  | µg/L
Drinking Water | 0137 | 9390 | Diquat1,13f | 8 to 40 | ±50% fixed acceptance limit |  |  |  | 4
Drinking Water | 0138 | 7525 | Endothall1,13g | 80 to 500 | ±50% fixed acceptance limit |  |  |  | 40
Drinking Water | 0139 | 9411 | Glyphosate1 | 375 to 800 | ±20% fixed acceptance limit |  |  |  | 300
|  |  | Haloacetic acids | µg/L |  |  |  |  | µg/L
Drinking Water | 0250 | 9315 | Bromochloroacetic Acid | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0157 | 9357 | Dibromoacetic Acid1 | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0158 | 9360 | Dichloroacetic Acid1 | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0160 | 9312 | Monobromoacetic Acid1 | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
Drinking Water | 0161 | 9336 | Monochloroacetic Acid1 | 10 to 50 | ±40% fixed acceptance limit |  |  |  | 6
Drinking Water | 0162 | 9642 | Trichloroacetic Acid1 | 5 to 50 | ±40% fixed acceptance limit |  |  |  | 3
|  |  | Adipate/Phthalate | µg/L |  |  |  |  | µg/L
Drinking Water | 0134 | 6062 | Di(2-Ethylhexyl) Adipate1 | 8 to 50 | 0.98169 | -0.42387 | 0.125 | 1.4658 | 2.5
Drinking Water | 0136 | 6065 | Di(2-Ethylhexyl) Phthalate1 | 5 to 50 | 0.92158 | 1.3142 | 0.20485 | 0.73883 | 2.4
|  |  | PCBs in Water2 | µg/L |  |  |  |  | µg/L
Drinking Water | 0118 | 9105 | PCBs as Decachlorobiphenyl1,13h | 0.5 to 5 | ±100% fixed acceptance limit |  |  |  | 0.05
Drinking Water |  | 8872 | PCB Aroclor Identification |  | Correct identification of Aroclor examined
|  |  | PAH | µg/L |  |  |  |  | µg/L
Drinking Water | 0122 | 5580 | Benzo(a)pyrene1 | 0.2 to 2.5 | 0.8471 | -0.004 | 0.1854 | 0.0547 | 0.02
|  |  | Dioxin | pg/L |  |  |  |  | pg/L
Drinking Water | 0252 | 9618 | 2,3,7,8-Tetrachloro-dibenzodioxin1 | 20 to 100 | 0.8642 | 1.4865 | 0.1392 | 1.1445 | 11
1) All analytes regulated under the US EPA's Safe Drinking Water Act must be spiked at non-zero assigned values, except when not required for evaluation in a supplemental PT study and when specified in the footnotes below.
2) One sample in every study, containing one Aroclor, selected at random from among the Aroclors listed (1016, 1221, 1232, 1242, 1248, 1254 or 1260) for
the analysis of PCBs as decachlorobiphenyl.
3) The acceptance criteria found in 40 CFR Part 141 are incorporated herein by reference. Acceptance criteria for FoPTs not included in 40 CFR Part 141 are presented in this table.
Acceptance limits are set at the Mean ± 2 SD.
Where the a, b, c and d factors are presented, Mean = a*T + b; SD = c*T + d where T is the assigned value.
Where only the c and d factors are presented, Mean = Robust Study Mean; SD = c*X + d where X is the Robust Study Mean.
Where no factors are presented (Study Mean ±3SD), Mean = Robust Study Mean, SD = Robust Study Standard Deviation.
Robust Study Mean and Standard Deviation are generated using statistical analysis of study data set. (ie. Bi-weight, Grubbs, Dixon, etc.)
Quantitative Microbiology acceptance criteria (e.g., HPC) are based on the robust participant Mean and SD determined from each respective PT study, after outlier removal.
4) If the lower acceptance limit generated using the criteria contained in this table is less than (<) 10% of the assigned value, the lower acceptance limits are set
at 10% of the assigned value, with the exception of Microbiology analytes.
5) If the lower acceptance limit generated using the criteria contained in this table is greater than (>) 90% of the assigned value, the lower acceptance limits are set
at 90% of the assigned value, with the exception of Microbiology analytes.
6) If the upper acceptance limit generated using the criteria contained in this table is less than (<) 110% of the assigned value, the upper acceptance limits are set
at 110% of the assigned value, with the exception of Microbiology analytes.
7) NELAC Proficiency Testing Reporting Limits (PTRLs) are provided as guidance to laboratories analyzing NELAC PT samples. These levels are the lowest
acceptable results that could be obtained from the lowest spike level for each analyte. The laboratory should report any positive result down to the PTRL.
It is recognized that in some cases (especially for analytes that typically exhibit low recovery) the PTRL may be below the standard laboratory reporting
limit. However, the laboratory should use a method that is sensitive enough to generate results at the PTRL shown. NELAC PTRLs are also provided as
guidance to PT Providers. At a minimum for all analytes with an assigned value equal to "0", the PT Provider should verify that the sample does not contain
the analyte at a concentration greater than or equal to the PTRL.
8) The ten-sample set which is provided to the participant laboratories shall contain bacteria that produces the following results when analyzed:
Positive results for total coliforms, fecal coliforms and E.coli.
Positive results for total coliforms and negative results for fecal coliforms and E.coli.
Negative results for total coliforms, fecal coliforms and E.coli.
These limits are for Presence-Absence only.
9) The ten-sample set shall be assigned lot numbers and randomly composed of samples as follows:
Two to four samples containing an aerogenic strain of Escherichia which will ensure positive results for total coliforms, fecal coliforms and E.coli.when analyzed
by any of the USEPA approved methods.
Two to four samples containing an aerogenic strain of Enterobacter species and/or other microorganism which will ensure positive results for total coliforms
and negative result for fecal coliforms and E.coli. when analyzed by any of the USEPA approved methods.
One to two samples containing Pseudomonas species and/or other microorganism which will ensure negative results for total coliforms, fecal coliforms and E.coli.
when analyzed by any of the USEPA approved methods.
One to two samples which do not contain any microorganism which ensure negative results for total coliforms, fecal coliforms and E.coli. when analyzed by any
of the USEPA approved methods.
10) Laboratories analyzing qualitative sample sets for more than one method in a particular study shall obtain a unique ten-sample set for each method
reported as specified in Footnote 9.
11) These limits are for quantitative methods using membrane filtration (MF) or pour-plate (PP) techniques.
12) These limits are for quantitative methods using most probable number (MPN) techniques.
13) The following recommended sample designs, which were used in past USEPA studies, should be used as model designs because other designs
may not give equivalent statistics. PT study providers may vary their sample designs from those shown. The specifics within each sample are within
the discretion of the PT study Provider.
a) Design criteria for Mercury – 1:1 (mole:mole as Hg) Mercuric Oxide and Methyl Mercuric Chloride.
b) Design criteria for Cyanide (all forms) – uncomplexed, e.g., Potassium Cyanide.
c) Design criterion for Turbidity – Formazin is the source for Turbidity.
d) Design criteria for Chlorinated Acid Herbicides – should be supplied in the acid form of the target herbicide.
e) Design criteria for 2,4-D – should be at least half the butyl ester with the remainder in the acid form.
f) Design criteria for Diquat – Starting material is Diquat Dibromide Monohydrate as required in the method. All assigned values and reported
values should be as Diquat.
g) Design criteria for Endothall – Starting material is Endothall Monohydrate as required in the method. All assigned values and reported values
should be as Endothall.
h) Design criteria for Decachlorobiphenyl – The source of the Decachlorobiphenyl is one of the following Aroclors: 1016, 1221, 1232, 1242, 1248, 1254, 1260.
The assigned value of the Decachlorobiphenyl is to be calculated by the provider from the concentration of the Aroclor used to prepare the sample
according to Table 1 of the USEPA Method 508A.
i) Design criteria for Corrosivity (Langlier Index) – The assigned value is to be calculated based on the solution ionic strength as calculated from
Total Filterable Residue.
14) Volatile Organic Compounds must contain all three Xylene isomers. The concentration range of o-Xylene and m&p-Xylene is 1-25 µg/L each.

## Change Log
Drinking Water (DW) FoPT Table Change Log
Effective Date | Change
2019-07-01 | Footnote 13b changed.