## Table
NELAC PT for Accreditation
Fields of Proficiency Testing with PTRLs
Solid and Chemical Materials
Effective: October 1 , 2020
[5 empty] | Blue = New Analyte |  |  | Magenta = Changes
Matrix | EPA | NELAC |  | Analyte 1,2 |  | Conc Range |  | Acceptance Criteria 3,4,5,6 |  |  |  | NELAC PTRL 7
| Analyte | Analyte | CAS
| Code | Code | Number |  |  |  |  | a | b | c | d
|  |  |  | Trace Metals |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 1000 | 7429-90-5 | Aluminum | 2500 | to | 25000 | Study Mean |  | 0.1307 | 293.1966 | 250
SOLIDS |  | 1005 | 7440-36-0 | Antimony | 80 | to | 300 | Study Mean |  | 0.4385 | 8.17 | 8
SOLIDS |  | 1010 | 7440-38-2 | Arsenic | 40 | to | 400 | Study Mean ± 30% |  |  |  | 4
SOLIDS |  | 1015 | 7440-39-3 | Barium | 100 | to | 1000 | Study Mean ± 25% |  |  |  | 10
SOLIDS |  | 1020 | 7440-41-7 | Beryllium | 40 | to | 400 | Study Mean ± 25% |  |  |  | 4
SOLIDS |  | 1025 | 7440-42-8 | Boron | 80 | to | 800 | Study Mean ± 40% |  |  |  | 48
SOLIDS |  | 1030 | 7440-43-9 | Cadmium | 40 | to | 400 | Study Mean ± 25% |  |  |  | 4
SOLIDS |  | 1035 | 7440-70-2 | Calcium | 1500 | to | 25000 | Study Mean |  | 0.072966 | 87.3802 | 150
SOLIDS |  | 1040 | 7440-47-3 | Chromium | 40 | to | 400 | Study Mean ± 30% |  |  |  | 4
SOLIDS |  | 1045 | 18540-29-9 | Chromium (VI) | 40 | to | 300 | Study Mean |  | 0.1547 | 8.546 | 4
SOLIDS |  | 1050 | 7440-48-4 | Cobalt | 40 | to | 400 | Study Mean ± 25% |  |  |  | 4
SOLIDS |  | 1055 | 7440-50-8 | Copper | 40 | to | 400 | Study Mean ± 25% |  |  |  | 4
SOLIDS |  | 1070 | 7439-89-6 | Iron | 5000 | to | 50000 | Study Mean |  | 0.11016 | 1500.6038 | 500
SOLIDS |  | 1075 | 7439-92-1 | Lead | 40 | to | 400 | Study Mean |  | 0.0791 | 1.9272 | 4
SOLIDS |  | 1085 | 7439-95-4 | Magnesium | 1200 | to | 25000 | Study Mean |  | 0.06849 | 134.2111 | 120
SOLIDS |  | 1090 | 7439-96-5 | Manganese | 100 | to | 2000 | Study Mean |  | 0.06386 | 6.3268 | 10
SOLIDS |  | 1095 | 7439-97-6 | Mercury | 1 | to | 35 | Study Mean ± 40% |  |  |  | 0.1
SOLIDS |  | 1100 | 7439-98-7 | Molybdenum | 30 | to | 300 | Study Mean |  | 0.091 | 0.8106 | 3
SOLIDS |  | 1105 | 7440-02-0 | Nickel | 40 | to | 500 | Study Mean ± 30% |  |  |  | 4
SOLIDS |  | 1125 | 7440-09-7 | Potassium | 1400 | to | 25000 | Study Mean |  | 0.0878 | 98.814 | 140
SOLIDS |  | 1140 | 7782-49-2 | Selenium | 40 | to | 400 | Study Mean |  | 0.09346 | 2.2902 | 4
SOLIDS |  | 1150 | 7440-22-4 | Silver | 20 | to | 100 | Study Mean |  | 0.091 | 0.4587 | 2
SOLIDS |  | 1155 | 7440-23-5 | Sodium | 150 | to | 15000 | Study Mean |  | 0.1043 | 15.0068 | 15
SOLIDS |  | 1160 | 7440-24-6 | Strontium | 40 | to | 400 | Study Mean |  | 0.0846 | 0.9208 | 4
SOLIDS |  | 1165 | 7440-28-0 | Thallium | 40 | to | 400 | Study Mean |  | 0.0785 | 3.0637 | 4
SOLIDS |  | 1175 | 7440-31-5 | Tin | 50 | to | 250 | Study Mean |  | 0.1134 | 3.056 | 5
SOLIDS |  | 1185 | 7440-62-2 | Vanadium | 40 | to | 400 | Study Mean |  | 0.0618 | 4.6801 | 4
SOLIDS |  | 1190 | 7440-66-6 | Zinc | 100 | to | 1000 | Study Mean ± 30% |  |  |  | 10
|  |  |  | Minerals |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 1540 | 24959-67-9 | Bromide | 10 | to | 100 | Study Mean |  | 0.084832 | 0.39886 | 1
SOLIDS |  | 1575 | 16887-00-6 | Chloride | 200 | to | 1000 | Study Mean |  | 0.0892 | 5.3941 | 20
SOLIDS |  | 1730 | 16984-48-8 | Fluoride | 25 | to | 500 | Study Mean |  | 0.17814 | 2.0366 | 2.5
SOLIDS |  | 1810 | NA | Nitrate as N | 25 | to | 500 | Study Mean |  | 0.0676 | 2.4605 | 2.5
SOLIDS |  | 2000 | 14808-79-8 | Sulfate | 25 | to | 2000 | Study Mean |  | 0.13542 | 5.1265 | 2.5
|  |  |  | Nutrients |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 1515 | NA | Ammonia as N | 300 | to | 3000 | Study Mean |  | 0.093147 | 39.0256 | 30
SOLIDS |  | 1795 | NA | Total Kjeldahl-Nitrogen (TKN) | 400 | to | 4000 | Study Mean |  | 0.13608 | 21.2081 | 40
SOLIDS |  | 1910 | NA | Total Phosphorus | 300 | to | 3000 | Study Mean |  | 0.22082 | 29.9538 | 30
|  |  |  | Misc Analytes |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 1625 | NA | Corrosivity (pH) | 2 | to | 12 units | ± 0.6 units fixed acceptance limit |  |  |  | not applicable
SOLIDS |  | 1645 | NA | Total Cyanide | 20 | to | 200 | Study Mean |  | 0.1701 | 2.0819 | 2
SOLVENT |  | 1780 | NA | Ignitability | 100 | to | 200 oF | ± 17 oF fixed acceptance limit |  |  |  | not applicable
|  |  |  | Volatile Aromatics 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4375 | 71-43-2 | Benzene | 20 | to | 200 | Assigned Value ±35% fixed acceptance limit |  |  |  | 13
SOLIDS |  | 4475 | 108-90-7 | Chlorobenzene | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 4610 | 95-50-1 | 1,2-Dichlorobenzene (o-Dichlorobenzene) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4615 | 541-73-1 | 1,3-Dichlorobenzene (m-Dichlorobenzene) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4620 | 106-46-7 | 1,4-Dichlorobenzene (p-Dichlorobenzene) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4765 | 100-41-4 | Ethylbenzene | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 5005 | 91-20-3 | Naphthalene | 40 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 20
SOLIDS |  | 5100 | 100-42-5 | Styrene | 40 | to | 200 | Assigned Value ±35% fixed acceptance limit |  |  |  | 26
SOLIDS |  | 5140 | 108-88-3 | Toluene | 20 | to | 200 | Assigned Value ±35% fixed acceptance limit |  |  |  | 13
SOLIDS |  | 5155 | 120-82-1 | 1,2,4-Trichlorobenzene | 40 | to | 200 | Assigned Value ±60% fixed acceptance limit |  |  |  | 16
SOLIDS |  | 5260 | 1330-20-7 | Xylene (total) 8 | 40 | to | 400 | Assigned Value ±45% fixed acceptance limit |  |  |  | 22
|  |  |  | Volatile Halocarbons 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4395 | 75-27-4 | Bromodichloromethane | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4400 | 75-25-2 | Bromoform | 20 | to | 200 | Assigned Value ±45% fixed acceptance limit |  |  |  | 11
SOLIDS |  | 4455 | 56-23-5 | Carbon tetrachloride | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 4505 | 67-66-3 | Chloroform | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4575 | 124-48-1 | Chlorodibromomethane | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4570 | 96-12-8 | 1,2-Dibromo-3-chloropropane (DBCP) | 40 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 4585 | 106-93-4 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 20 | to | 200 | Assigned Value ±35% fixed acceptance limit |  |  |  | 13
SOLIDS |  | 4630 | 75-34-3 | 1,1-Dichloroethane | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4635 | 107-06-2 | 1,2-Dichloroethane (Ethylene dichloride) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4640 | 75-35-4 | 1,1-Dichloroethylene | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 4645 | 156-59-2 | cis-1,2-Dichloroethylene | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4700 | 156-60-5 | trans-1,2-Dichloroethylene | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4975 | 75-09-2 | Methylene chloride (Dichloromethane) | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 4655 | 78-87-5 | 1,2-Dichloropropane | 20 | to | 200 | Assigned Value ±35% fixed acceptance limit |  |  |  | 13
SOLIDS |  | 4680 | 10061-01-5 | cis-1,3-Dichloropropene | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 4685 | 10061-02-6 | trans-1,3-Dichloropropylene | 20 | to | 200 | Assigned Value ±45% fixed acceptance limit |  |  |  | 11
SOLIDS |  | 5105 | 630-20-6 | 1,1,1,2-Tetrachloroethane | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 5110 | 79-34-5 | 1,1,2,2-Tetrachloroethane | 20 | to | 200 | Assigned Value ±45% fixed acceptance limit |  |  |  | 11
SOLIDS |  | 5115 | 127-18-4 | Tetrachloroethylene (Perchloroethylene) | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 10
SOLIDS |  | 5160 | 71-55-6 | 1,1,1-Trichloroethane | 20 | to | 200 | Assigned Value ±45% fixed acceptance limit |  |  |  | 11
SOLIDS |  | 5165 | 79-00-5 | 1,1,2-Trichloroethane | 20 | to | 200 | Assigned Value ±30% fixed acceptance limit |  |  |  | 14
SOLIDS |  | 5170 | 79-01-6 | Trichloroethene (Trichloroethylene) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
SOLIDS |  | 5180 | 96-18-4 | 1,2,3-Trichloropropane | 20 | to | 200 | Assigned Value ±50% fixed acceptance limit |  |  |  | 12
|  |  |  | Volatile Ketone/Ethers 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4315 | 67-64-1 | Acetone | 200 | to | 1000 | 0.80504 | 15.8965 | 0.22551 | 11.6574 | 20
SOLIDS |  | 4410 | 78-93-3 | 2-Butanone (Methyl ethyl ketone, MEK) | 100 | to | 500 | 0.94573 | -5.6053 | 0.18319 | 7.9158 | 10
SOLIDS |  | 4860 | 591-78-6 | 2-Hexanone | 100 | to | 500 | Assigned Value ±50% fixed acceptance limit |  |  |  | 50
SOLIDS |  | 4995 | 108-10-1 | 4-Methyl-2-pentanone (MIBK) | 100 | to | 500 | Assigned Value ±50% fixed acceptance limit |  |  |  | 50
SOLIDS |  | 5000 | 1634-04-4 | Methyl tert-butyl ether (MTBE) | 20 | to | 200 | Assigned Value ±40% fixed acceptance limit |  |  |  | 12
|  |  |  | Medium Level Volatile Aromatics 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4375 | 71-43-2 | Benzene | 1000 | to | 10000 | Assigned Value ±25% fixed acceptance limit |  |  |  | 750
SOLIDS |  | 4475 | 108-90-7 | Chlorobenzene | 1000 | to | 10000 | Assigned Value ±25% fixed acceptance limit |  |  |  | 750
SOLIDS |  | 4610 | 95-50-1 | 1,2-Dichlorobenzene (o-Dichlorobenzene) | 1000 | to | 10000 | Assigned Value ±25% fixed acceptance limit |  |  |  | 750
SOLIDS |  | 4615 | 541-73-1 | 1,3-Dichlorobenzene (m-Dichlorobenzene) | 1000 | to | 10000 | 1.0087 | -3.5854 | 0.061 | 72.1547 | 606
SOLIDS |  | 4620 | 106-46-7 | 1,4-Dichlorobenzene (p-Dichlorobenzene) | 1000 | to | 10000 | 0.9814 | 78.8567 | 0.0672 | 45.0983 | 723
SOLIDS |  | 4765 | 100-41-4 | Ethylbenzene | 1000 | to | 10000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 700
SOLIDS |  | 5005 | 91-20-3 | Naphthalene | 2000 | to | 10000 | 1.0092 | -147.4204 | 0.089614 | 204.0207 | 721
SOLIDS |  | 5100 | 100-42-5 | Styrene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 5140 | 108-88-3 | Toluene | 1000 | to | 10000 | Assigned Value ±25% fixed acceptance limit |  |  |  | 750
SOLIDS |  | 5155 | 120-82-1 | 1,2,4-Trichlorobenzene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 5260 | 1330-20-7 | Xylene (total) 8 | 2000 | to | 20000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 700
|  |  |  | Medium Level Volatile Halocarbons 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4395 | 75-27-4 | Bromodichloromethane | 1000 | to | 10000 | Assigned Value ±35% fixed acceptance limit |  |  |  | 650
SOLIDS |  | 4400 | 75-25-2 | Bromoform | 1000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 600
SOLIDS |  | 4455 | 56-23-5 | Carbon tetrachloride | 1000 | to | 10000 | 0.98792 | 26.125 | 0.10914 | 69.057 | 480
SOLIDS |  | 4505 | 67-66-3 | Chloroform | 1000 | to | 10000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 700
SOLIDS |  | 4575 | 124-48-1 | Chlorodibromomethane | 1000 | to | 10000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 700
SOLIDS |  | 4570 | 96-12-8 | 1,2-Dibromo-3-chloropropane (DBCP) | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4585 | 106-93-4 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4595 | 74-95-3 | Dibromomethane (Methylene bromide) | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4630 | 75-34-3 | 1,1-Dichloroethane | 1000 | to | 10000 | Assigned Value ±35% fixed acceptance limit |  |  |  | 650
SOLIDS |  | 4635 | 107-06-2 | 1,2-Dichloroethane (Ethylene dichloride) | 1500 | to | 10000 | 0.996 | 32.3273 | 0.0711 | 81.3421 | 930
SOLIDS |  | 4640 | 75-35-4 | 1,1-Dichloroethylene | 2000 | to | 10000 | Assigned Value ±50% fixed acceptance limit |  |  |  | 1000
SOLIDS |  | 4645 | 156-59-2 | cis-1,2-Dichloroethylene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4700 | 156-60-5 | trans-1,2-Dichloroethylene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4975 | 75-09-2 | Methylene chloride (Dichloromethane) | 1000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 600
SOLIDS |  | 4655 | 78-87-5 | 1,2-Dichloropropane | 2000 | to | 10000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 1400
SOLIDS |  | 4680 | 10061-01-5 | cis-1,3-Dichloropropene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 4685 | 10061-02-6 | trans-1,3-Dichloropropylene | 2000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 1200
SOLIDS |  | 5105 | 630-20-6 | 1,1,1,2-Tetrachloroethane | 1000 | to | 10000 | 0.99053 | 84.3577 | 0.07147 | 113.3756 | 520.3509
SOLIDS |  | 5110 | 79-34-5 | 1,1,2,2-Tetrachloroethane | 1500 | to | 10000 | 0.98839 | -45.837 | 0.09271 | 188.2879 | 454.6892
SOLIDS |  | 5115 | 127-18-4 | Tetrachloroethylene (Perchloroethylene) | 1000 | to | 10000 | 1.0045 | 93.5934 | 0.1125 | 4.6555 | 747
SOLIDS |  | 5160 | 71-55-6 | 1,1,1-Trichloroethane | 1000 | to | 10000 | Assigned Value ±40% fixed acceptance limit |  |  |  | 600
SOLIDS |  | 5165 | 79-00-5 | 1,1,2-Trichloroethane | 1000 | to | 10000 | Assigned Value ±35% fixed acceptance limit |  |  |  | 650
SOLIDS |  | 5170 | 79-01-6 | Trichloroethene (Trichloroethylene) | 1000 | to | 10000 | 0.9971 | 67.2206 | 0.084 | 56.345 | 643
SOLIDS |  | 5180 | 96-18-4 | 1,2,3-Trichloropropane | 1500 | to | 10000 | Assigned Value ±45% fixed acceptance limit |  |  |  | 825
|  |  |  | Medium Level Volatile Ketone/Ethers 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 4315 | 67-64-1 | Acetone | 4000 | to | 20000 | 0.91053 | -72.7923 | 0.2023 | 70.9627 | 928.8396
SOLIDS |  | 4410 | 78-93-3 | 2-Butanone (Methyl ethyl ketone, MEK) | 4000 | to | 20000 | 0.86877 | 472.7627 | 0.18765 | 295.723 | 808
SOLIDS |  | 4860 | 591-78-6 | 2-Hexanone | 4000 | to | 20000 | Assigned Value ±50% fixed acceptance limit |  |  |  | 2000
SOLIDS |  | 4995 | 108-10-1 | 4-Methyl-2-pentanone (MIBK) | 4000 | to | 20000 | Assigned Value ±50% fixed acceptance limit |  |  |  | 2000
SOLIDS |  | 5000 | 1634-04-4 | Methyl tert-butyl ether (MTBE) | 2000 | to | 10000 | Assigned Value ±30% fixed acceptance limit |  |  |  | 1400
|  |  |  | Volatile Petroleum Hydrocarbons |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 9408 | 8006-61-9 | Gasoline Range Organics (GRO) 9 | 100 | to | 2000 | Study Mean |  | 0.19002 | 74.9808 | 10
|  |  |  | Base/Neutrals 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 5500 | 83-32-9 | Acenaphthene | 1000 | to | 12000 | Study Mean |  | 0.1967 | 2.4526 | 100
SOLIDS |  | 5505 | 208-96-8 | Acenaphthylene | 1000 | to | 12000 | Study Mean |  | 0.211 | 0.8053 | 100
SOLIDS |  | 5555 | 120-12-7 | Anthracene | 1000 | to | 12000 | Study Mean |  | 0.1677 | 68.9191 | 100
SOLIDS |  | 5575 | 56-55-3 | Benzo(a)anthracene | 1000 | to | 12000 | Study Mean |  | 0.1671 | 20.6877 | 100
SOLIDS |  | 5585 | 205-99-2 | Benzo(b)fluoranthene | 1000 | to | 12000 | Study Mean |  | 0.1929 | 23.6955 | 100
SOLIDS |  | 5600 | 207-08-9 | Benzo(k)fluoranthene | 1000 | to | 12000 | Study Mean |  | 0.1966 | 5.3583 | 100
SOLIDS |  | 5590 | 191-24-2 | Benzo(g,h,i)perylene | 1000 | to | 12000 | Study Mean |  | 0.1958 | 26.7399 | 100
SOLIDS |  | 5580 | 50-32-8 | Benzo(a)pyrene | 1000 | to | 12000 | Study Mean |  | 0.1801 | 66.9233 | 100
SOLIDS |  | 5660 | 101-55-3 | 4-Bromophenyl phenyl ether (BDE-3) | 1500 | to | 15000 | Study Mean |  | 0.1949 | 25.3431 | 150
SOLIDS |  | 5670 | 85-68-7 | Butyl benzyl phthalate | 1000 | to | 12000 | Study Mean |  | 0.2095 | 16.2887 | 100
SOLIDS |  | 5765 | 111-44-4 | bis(2-Chloroethyl) ether | 1500 | to | 15000 | Study Mean |  | 0.21577 | 173.857 | 150
SOLIDS |  | 5760 | 111-91-1 | bis(2-Chloroethoxy)methane | 1000 | to | 12000 | Study Mean |  | 0.1953 | 88.5249 | 100
SOLIDS |  | 4659 | 108-60-1 | 2,2'-Oxybis(1-chloropropane), bis(2-Chloro-1-methylethyl)ether 13 | 1500 | to | 15000 | Study Mean |  | 0.2515 | 26.3474 | 150
SOLIDS |  | 5795 | 91-58-7 | 2-Chloronaphthalene | 1000 | to | 12000 | Study Mean |  | 0.2181 | 6.8913 | 100
SOLIDS |  | 5825 | 7005-72-3 | 4-Chlorophenyl phenylether | 1000 | to | 12000 | Study Mean |  | 0.2077 | 5.9161 | 100
SOLIDS |  | 5855 | 218-01-9 | Chrysene | 1000 | to | 12000 | Study Mean |  | 0.1626 | 29.1501 | 100
SOLIDS |  | 5895 | 53-70-3 | Dibenz(a,h) anthracene | 1000 | to | 12000 | Study Mean |  | 0.1868 | 81.9994 | 100
SOLIDS |  | 5905 | 132-64-9 | Dibenzofuran | 1500 | to | 15000 | Study Mean |  | 0.1772 | 34.8698 | 150
SOLIDS |  | 4610 | 95-50-1 | 1,2-Dichlorobenzene (o-Dichlorobenzene) | 1500 | to | 15000 | Study Mean |  | 0.27859 | 81.9879 | 150
SOLIDS |  | 4615 | 541-73-1 | 1,3-Dichlorobenzene (m-Dichlorobenzene) | 1500 | to | 15000 | Study Mean |  | 0.32917 | 69.8039 | 150
SOLIDS |  | 4620 | 106-46-7 | 1,4-Dichlorobenzene (p-Dichlorobenzene) | 1500 | to | 15000 | Study Mean |  | 0.32491 | 28.1719 | 150
SOLIDS |  | 6070 | 84-66-2 | Diethyl phthalate | 1000 | to | 12000 | Study Mean |  | 0.1952 | 14.2186 | 100
SOLIDS |  | 6135 | 131-11-3 | Dimethyl phthalate | 1000 | to | 12000 | Study Mean |  | 0.1898 | 37.0036 | 100
SOLIDS |  | 5925 | 84-74-2 | Di-n-butyl phthalate | 1000 | to | 12000 | Study Mean |  | 0.2232 | 24.5306 | 100
SOLIDS |  | 6185 | 121-14-2 | 2,4-Dinitrotoluene (2,4-DNT) | 1500 | to | 15000 | Study Mean |  | 0.1901 | 59.3569 | 150
SOLIDS |  | 6190 | 606-20-2 | 2,6-Dinitrotoluene (2,6-DNT) | 1500 | to | 15000 | Study Mean |  | 0.1804 | 16.8136 | 150
SOLIDS |  | 6200 | 117-84-0 | Di-n-octyl phthalate | 1000 | to | 12000 | Study Mean |  | 0.2306 | 52.0201 | 100
SOLIDS |  | 6065 | 117-81-7 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP) | 1500 | to | 15000 | Study Mean |  | 0.21088 | 100.6287 | 150
SOLIDS |  | 6265 | 206-44-0 | Fluoranthene | 1000 | to | 12000 | Study Mean |  | 0.19093 | 27.4902 | 100
SOLIDS |  | 6270 | 86-73-7 | Fluorene | 1000 | to | 12000 | Study Mean |  | 0.1714 | 57.1721 | 100
SOLIDS |  | 4840 | 67-72-1 | Hexachloroethane | 1500 | to | 15000 | Study Mean |  | 0.3365 | 0.74532 | 150
SOLIDS |  | 6275 | 118-74-1 | Hexachlorobenzene | 1500 | to | 15000 | Study Mean |  | 0.1713 | 4.7899 | 150
SOLIDS |  | 4835 | 87-68-3 | Hexachlorobutadiene | 1500 | to | 15000 | Study Mean |  | 0.2252 | 61.2677 | 150
SOLIDS |  | 6315 | 193-39-5 | Indeno(1,2,3-cd) pyrene | 1000 | to | 12000 | Study Mean |  | 0.2577 | 6.0686 | 100
|  |  |  | Base/Neutrals cont' 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 6320 | 78-59-1 | Isophorone | 1500 | to | 15000 | Study Mean |  | 0.2107 | 52.3126 | 150
SOLIDS |  | 6385 | 91-57-6 | 2-Methylnaphthalene | 1000 | to | 12000 | Study Mean |  | 0.20265 | 28.7219 | 100
SOLIDS |  | 5005 | 91-20-3 | Naphthalene | 1000 | to | 12000 | Study Mean |  | 0.2408 | 35.4651 | 100
SOLIDS |  | 5015 | 98-95-3 | Nitrobenzene | 1500 | to | 15000 | Study Mean |  | 0.2129 | 84.7934 | 150
SOLIDS |  | 6545 | 621-64-7 | n-Nitrosodi-n-propylamine | 1500 | to | 15000 | Study Mean |  | 0.2463 | 5.3389 | 150
SOLIDS |  | 6615 | 85-01-8 | Phenanthrene | 1000 | to | 12000 | Study Mean |  | 0.1801 | 5.2498 | 100
SOLIDS |  | 6665 | 129-00-0 | Pyrene | 1000 | to | 12000 | Study Mean |  | 0.20248 | 15.1287 | 100
SOLIDS |  | 5155 | 120-82-1 | 1,2,4-Trichlorobenzene | 1500 | to | 15000 | Study Mean |  | 0.1952 | 170.2017 | 150
|  |  |  | Acids 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 5700 | 59-50-7 | 4-Chloro-3-methylphenol | 1500 | to | 15000 | Study Mean |  | 0.1989 | 52.6198 | 150
SOLIDS |  | 5800 | 95-57-8 | 2-Chlorophenol | 1500 | to | 15000 | Study Mean |  | 0.2418 | 15.4376 | 150
SOLIDS |  | 6000 | 120-83-2 | 2,4-Dichlorophenol | 1500 | to | 15000 | Study Mean |  | 0.2092 | 70.7176 | 150
SOLIDS |  | 6400 | 95-48-7 | 2-Methylphenol (o-Cresol) | 3000 | to | 15000 | Study Mean |  | 0.2419 | 113.6401 | 300
SOLIDS |  | 6410 | 106-44-5 | 4-Methylphenol (p-Cresol) 10 | 3000 | to | 15000 | Study Mean ±3SD |  |  |  | 300
SOLIDS |  | 6490 | 88-75-5 | 2-Nitrophenol | 3000 | to | 15000 | Study Mean |  | 0.2513 | 18.3228 | 300
SOLIDS |  | 6500 | 100-02-7 | 4-Nitrophenol | 3000 | to | 15000 | Study Mean |  | 0.36391 | 171.23 | 300
SOLIDS |  | 6625 | 108-95-2 | Phenol | 1500 | to | 15000 | Study Mean |  | 0.2381 | 26.3795 | 150
SOLIDS |  | 6605 | 87-86-5 | Pentachlorophenol | 3000 | to | 15000 | Study Mean |  | 0.27141 | 282.8578 | 300
SOLIDS |  | 6835 | 95-95-4 | 2,4,5-Trichlorophenol | 1500 | to | 15000 | Study Mean |  | 0.2309 | 17.6405 | 150
SOLIDS |  | 6840 | 88-06-2 | 2,4,6-Trichlorophenol | 1500 | to | 15000 | Study Mean |  | 0.2031 | 72.3886 | 150
|  |  |  | PCBs 2 |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 8880 | 12674-11-2 | Aroclor-1016 (PCB-1016) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8885 | 11104-28-2 | Aroclor-1221 (PCB-1221) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8890 | 11141-16-5 | Aroclor-1232 (PCB-1232) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8895 | 53469-21-9 | Aroclor-1242 (PCB-1242) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8900 | 12672-29-6 | Aroclor-1248 (PCB-1248) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8905 | 11097-69-1 | Aroclor-1254 (PCB-1254) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
SOLIDS |  | 8910 | 11096-82-5 | Aroclor-1260 (PCB-1260) | 1 | to | 50 | Study Mean |  | 0.2239 | 0.11962 | 0.1
|  |  |  | PCBs in Oil 2 |  | mg/kg | [5 empty] | mg/kg
OIL |  | 8880 | 12674-11-2 | Aroclor-1016 (PCB-1016) | 10 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 0.86
OIL |  | 8885 | 11104-28-2 | Aroclor-1221 (PCB-1221) | 12 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 1.25
OIL |  | 8890 | 11141-16-5 | Aroclor-1232 (PCB-1232) | 12 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 1.25
OIL |  | 8895 | 53469-21-9 | Aroclor-1242 (PCB-1242) | 10 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 0.86
OIL |  | 8900 | 12672-29-6 | Aroclor-1248 (PCB-1248) | 12 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 1.25
OIL | 0100 | 8905 | 11097-69-1 | Aroclor-1254 (PCB-1254) | 10 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 0.86
OIL | 0101 | 8910 | 11096-82-5 | Aroclor-1260 (PCB-1260) | 10 | to | 50 | 0.7712 | 1.1019 | 0.1919 | 0.7331 | 0.86
|  |  |  | Organochlorine Pesticides 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 7025 | 309-00-2 | Aldrin | 50 | to | 500 | Study Mean |  | 0.20241 | 1.8529 | 5
SOLIDS |  | 7110 | 319-84-6 | alpha-BHC (alpha-Hexachlorocyclohexane) | 50 | to | 500 | Study Mean |  | 0.20043 | 3.1776 | 5
SOLIDS |  | 7115 | 319-85-7 | beta-BHC (beta-Hexachlorocyclohexane) | 50 | to | 500 | Study Mean |  | 0.1788 | 9.4062 | 5
SOLIDS |  | 7105 | 319-86-8 | delta-BHC | 50 | to | 500 | Study Mean |  | 0.2041 | 5.5821 | 5
SOLIDS |  | 7120 | 58-89-9 | gamma-BHC (Lindane, gamma-HexachlorocyclohexanE) | 50 | to | 500 | Study Mean |  | 0.19549 | 6.0037 | 5
SOLIDS |  | 7240 | 5103-71-9 | cis-Chlordane, alpha-Chlordane | 50 | to | 500 | Study Mean |  | 0.1876 | 0.6823 | 5
SOLIDS |  | 7245 | 5566-34-7 | gamma-Chlordane | 50 | to | 500 | Study Mean |  | 0.1666 | 2.0584 | 5
SOLIDS |  | 7250 | 12789-03-6 | Chlordane (tech.) | 100 | to | 1000 | Study Mean |  | 0.2357 | 1.1633 | 10
SOLIDS |  | 7355 | 72-54-8 | 4,4'-DDD14a | 50 | to | 500 | Study Mean |  | 0.16965 | 8.1705 | 5
SOLIDS |  | 7360 | 72-55-9 | 4,4'-DDE14a | 50 | to | 500 | Study Mean |  | 0.18176 | 4.4461 | 5
SOLIDS |  | 7365 | 50-29-3 | 4,4'-DDT14a | 50 | to | 500 | Study Mean |  | 0.2243 | 2.6522 | 5
SOLIDS |  | 7470 | 60-57-1 | Dieldrin | 50 | to | 500 | Study Mean |  | 0.1672 | 4.0365 | 5
SOLIDS |  | 7510 | 959-98-8 | Endosulfan I | 50 | to | 500 | Study Mean |  | 0.18244 | 5.0749 | 5
SOLIDS |  | 7515 | 33213-65-9 | Endosulfan II | 50 | to | 500 | Study Mean |  | 0.20255 | 3.2251 | 5
SOLIDS |  | 7520 | 1031-07-8 | Endosulfan sulfate | 50 | to | 500 | Study Mean |  | 0.23612 | 2.5159 | 5
SOLIDS |  | 7540 | 72-20-8 | Endrin14b | 50 | to | 500 | Study Mean |  | 0.14346 | 7.1706 | 5
SOLIDS |  | 7530 | 7421-93-4 | Endrin aldehyde14b | 50 | to | 500 | Study Mean |  | 0.2309 | 10.0975 | 5
SOLIDS |  | 7535 | 53494-70-5 | Endrin ketone14b | 50 | to | 500 | Study Mean |  | 0.21897 | 2.7268 | 5
SOLIDS |  | 7685 | 76-44-8 | Heptachlor | 50 | to | 500 | Study Mean |  | 0.1911 | 2.5619 | 5
SOLIDS |  | 7690 | 1024-57-3 | Heptachlor epoxide | 50 | to | 500 | Study Mean |  | 0.1786 | 2.4451 | 5
SOLIDS |  | 7810 | 72-43-5 | Methoxychlor | 50 | to | 500 | Study Mean |  | 0.26961 | 6.0889 | 5
SOLIDS |  | 8250 | 8001-35-2 | Toxaphene (Chlorinated Camphene) | 200 | to | 2000 | Study Mean ±3SD |  |  |  | 20
|  |  |  | Herbicides 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 8545 | 94-75-7 | 2,4-D | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 8560 | 94-82-6 | 2,4-DB | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 8595 | 1918-00-9 | Dicamba | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 8620 | 88-85-7 | Dinoseb (2-sec-butyl-4,6-dinitrophenol, DNBP) | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 6605 | 87-86-5 | Pentachlorophenol | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 8655 | 93-76-5 | 2,4,5-T | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
SOLIDS |  | 8650 | 93-72-1 | Silvex (2,4,5-TP) | 100 | to | 1000 | Study Mean ±3SD |  |  |  | 10
|  |  |  | Petroleum Hydrocarbons |  | mg/kg | [5 empty] | mg/kg
SOLIDS |  | 9369 | 68334-30-5 | Diesel Range Organics (DRO) 11 | 300 | to | 3000 | Study Mean |  | 0.2097 | 7.5527 | 30
SOLIDS |  | 1803 | NA | n-Hexane Extractable Material (O&G) 12 | 300 | to | 3000 | Study Mean |  | 0.15671 | 88.0394 | 30
|  |  |  | Low Level Polyaromatic Hydrocarbons (PAHs) 1 |  | µg/kg | [5 empty] | µg/kg
SOLIDS |  | 5500 | 83-32-9 | Acenaphthene | 100 | to | 1000 | Study Mean |  | 0.2258 | 2.4018 | 15
SOLIDS |  | 5505 | 208-96-8 | Acenaphthylene | 150 | to | 1000 | Study Mean |  | 0.31807 | 4.1175 | 15
SOLIDS |  | 5555 | 120-12-7 | Anthracene | 100 | to | 1000 | Study Mean |  | 0.1839 | 3.1705 | 10
SOLIDS |  | 5575 | 56-55-3 | Benzo(a)anthracene | 50 | to | 500 | Study Mean |  | 0.1562 | 2.8639 | 5
SOLIDS |  | 5585 | 205-99-2 | Benzo(b)fluoranthene | 50 | to | 500 | Study Mean |  | 0.137 | 3.1001 | 5
SOLIDS |  | 5600 | 207-08-9 | Benzo(k)fluoranthene | 50 | to | 500 | Study Mean |  | 0.13 | 5.4343 | 5
SOLIDS |  | 5590 | 191-24-2 | Benzo(g,h,i)perylene | 50 | to | 500 | Study Mean |  | 0.1724 | 4.5522 | 10
SOLIDS |  | 5580 | 50-32-8 | Benzo(a)pyrene | 50 | to | 500 | Study Mean |  | 0.1771 | 3.7794 | 5
SOLIDS |  | 5855 | 218-01-9 | Chrysene | 50 | to | 500 | Study Mean |  | 0.1884 | 0.0425 | 5
SOLIDS |  | 5895 | 53-70-3 | Dibenz(a,h) anthracene | 50 | to | 500 | Study Mean |  | 0.1591 | 2.643 | 5
SOLIDS |  | 6265 | 206-44-0 | Fluoranthene | 50 | to | 500 | Study Mean |  | 0.1529 | 3.978 | 10
SOLIDS |  | 6270 | 86-73-7 | Fluorene | 50 | to | 500 | Study Mean |  | 0.2169 | 2.2266 | 5
SOLIDS |  | 6315 | 193-39-5 | Indeno(1,2,3-cd) pyrene | 50 | to | 500 | Study Mean |  | 0.133 | 6.2268 | 5
SOLIDS |  | 5005 | 91-20-3 | Naphthalene | 150 | to | 1000 | Study Mean |  | 0.3079 | 1.5325 | 15
SOLIDS |  | 6615 | 85-01-8 | Phenanthrene | 100 | to | 1000 | Study Mean |  | 0.1921 | 0.197 | 10
SOLIDS |  | 6665 | 129-00-0 | Pyrene | 50 | to | 500 | Study Mean |  | 0.1816 | 2.1374 | 5
1) For volatiles, base/neutrals, acids, organochlorine pesticides, herbicides and low level PAHs standards, providers must include a minimum number of analytes
using the criteria described below:
PT samples that are to be scored for one to ten analytes must include all of these analytes.
PT samples that are to be scored for ten to twenty analytes must include at least ten of these analytes or 80% ot the total, whichever number is greater.
PT samples that are to be scored for more than twenty analytes must include at least sixteen of these analytes or 60% ot the total, whichever number is greater.
If the calculated percentage of the total number of analytes in the PT sample is a fraction, the fraction shall be rounded up to the next whole number.
2) One sample in every study, containing one Aroclor, selected at random from among the Aroclors listed above.
3) Acceptance limits are set at the Mean ± 3 Standard Deviations (SD).
Where the a, b, c and d factors are presented, Mean = a*T + b; SD = c*T + d where T is the assigned value.
Where the c and d factors are presented, Mean = Robust Study Mean; SD = c*X + d where X is the Robust Study Mean.
Where no factors are presented (Study Mean ±3SD), Mean = Robust Study Mean, SD = Robust Study Standard Deviation.
Robust Study Mean and Standard Deviation are generated using statistical analysis of study data set. (ie. Bi-weight, Grubbs, Dixon, etc.)
4) If the lower acceptance limit generated using the criteria contained in this table is less than 10% of the assigned value or the PTRL, the lower
acceptance limits are set at 10% of the assigned value or the PTRL whichever is higher.
5) If the lower acceptance limit generated using the criteria contained in this table is greater than 90% of the assigned value, the lower acceptance limits are
set at 90% of the assigned value except where fixed limits are used.
6) If the upper acceptance limit generated using the criteria contained in this table is less than 110% of the assigned value, the upper acceptance limits are
set at 110% of the assigned value except where fixed limits are used.
7) NELAC Proficiency Testing Reporting Limits (PTRLs) are provided as guidance to laboratories analyzing NELAC PT samples. At a minimum, the
laboratory should use a method that is sensitive enough to generate quantitative results at the PTRLs shown. NELAC PTRLs are also provided as
guidance to PT Providers. At a minimum for all analytes with an assigned value equal to <PTRL, the PT Provider should verify that the PT sample does
not contain the analyte at a concentration greater than or equal to the PTRL.
8) Volatiles Aromatics must contain all three Xylene isomers. The concentration range of o-Xylene and m&p-Xylene is 20-200 ug/kg or 1000-10000
(Medium Level) each.
9) Gasoline Range Organics (GRO) per purge-and-trap extraction followed by chromatographic analysis. GRO is defined as the carbon range
between n-C5 and n-C10.
10) Laboratories seeking to report data for Solid and Chemical Material analyte 4-Methylphenol or the coeluting isomer pair of 3-Methylphenol and
4-Methylphenol must report the data as 4-Methylphenol.
11) Diesel Range Organics (DRO) per solvent extraction followed by chromatographic analysis. DRO is defined as the carbon range between n-C10 and n-C28.
12) n-Hexane Extractable Material (HEM) per solvent extraction followed by gravimetric or infrared spectrometric analysis (Oil & Grease).
13) Also known as Bis(2-chloro-1-methylethyl) Ether, formerly known as Bis(2-chloroisopropyl) Ether.
14)These analytes are specified as part of a method defined and evaluated degradation process. PT sample designs for these analytes must conform to the following:
a) If the parent compound 4,4'-DDT is spiked into the PT sample, then its degradation products, 4,4'-DDD and 4,4'-DDE, must also be spiked into that PT sample.
b) If the parent compound Endrin is spiked into the PT sample, then its degradation products, Endrin aldehyde and Endrin ketone, must also be spiked into that PT sample.

## Change Log
Solid and Chemical Materials (SCM) FoPT Table Change Log
Effective Date | Change
2017-07-24 | Formatting changes (color coding and logo) to standardize FoPT Tables (posted to website 10-16-2018)
CAS Numbers added and analyte names updated for congruity with LAMS Added footnotes 14a and 14b for 4,4'DDT and Endrin degradation products.