## DraftStandard120120Comments
Title -- V2M1 comments on Draft Standard, 12/1/2020 thru 3/30/2021
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Comment Number | Vote & Justification (Persuasive/non-persuasive) | Editorial (Y/N) | Section/Clause | Comment | Committee Action | Date Addressed | Committee Comment
70 | NA |  | 0 | GENERAL COMMENT: This revision contains, potentially, a lot of change which ABs will need time to respond to, in both practice and procedure. When changes to Volume 1 greatly impacts labs, sufficient time to respond is provided before assessment to the revised Standard. Similarly, the AC will need to determine or be given an appropriate timeframe for this implementation after the draft is finalized. | this is beyond the purview of LAB committee | 2021-04-20
1 | P | x | 1 | 1.0 Add definition of MUST as added TNI language; use same definition as SHALL. Justification: Per CSDEC discussion regarding this need. | make the change | 2021-04-20
2 | NP | x | 2 | 2.0 – Note – while notes are not enforceable, the use of the phrase ‘may also be used as a reference’ makes the note additionally weak. I would suggest deleting that phrase | no change | 2021-03-16
3 | NP | x | 3.1 | 3.1 (and additional) – is the information labeled SOURCE that is included in brackets intended to be included in the Standard? I didn’t see it addressed in the key at the beginning. I would recommend deleting all of it as it doesn’t clarify the Standard | this is ISO language suggested editorial change not accepted | 2021-03-16
4 | NP |  | 3.1 | balance is used as a term that conveys an element of impartiality. It should be noted that balance is defined differently within TNI than the use in this definition. A NOTE might be useful for that purpose. | no change | 2021-05-18 | further clarification is unnecessary and would only confuse the issue further, as the term balance is used nowhere else in V2M1
5 | NP |  | 3.2 | 3.20 – Complaint is defined differently in 17025:2017. Both of these definitions have been modified by ISO. TNI should use a single definition of the term. 17025:2017 states ‘complaint - expression of dissatisfaction by any person or organization to a laboratory, relating to the activities or results of that laboratory, where a response is expected [SOURCE: ISO/IEC 17000:2004, 6.5, modified — The words “other than appeal” have been deleted, and the words “a conformity assessment body or accreditation body, relating to the activities of that body” have been replaced by “a laboratory, relating to the activities or results of that laboratory”.] Rather than referencing either laboratory or accreditation body, could another term such as client or customer be used instead? | this is ISO language suggested editorial change not accepted | 2021-04-20
6 | P | x | 3.4 | 3.4 Note: recommend moving “on-site” from 2nd sentence. Justification: Consistency through document. | make the change | 2021-04-20
7 | P |  | 3.6 | 3.6 – also called Field of Accreditation, which is followed by a definitions of Fields [plural] of Accreditation. If Scope of Accreditation is also called Field(s) of Accreditation, then it should have the same definition. I would suggest using one or the other definition. If both are to be used, then Field(s) of Accreditation needs its own section number in the Terms and Definitions | remove this sole reference to Field of Accreditation (it's used nowhere else in the Draft Standard) | 2021-03-16 | determined persuasive 3/16/21; to be addressed later. Re-voted on 4/20/21
8 | P |  | 3.8 | 3.8 – reference to TNI’s Environmental Laboratory Sector Standards is typically formatted as EL V#M#, not as ELS. I would also refer to TNI as opposed to The NELAC Institute in the same section. | make the change | 2021-04-20 | determined persuasive 3/16/21; to be addressed later. Re-voted on 4/20/21
9 | P |  | 3.8 | V2M1 3.8 Accreditation Scheme Notes 1 and 2 -- Note 1 appears to incorporate by reference nine different ISO standards as part of the accreditation scheme. Note 2 appears to qualify Note 1 by indicating the TNI accreditation scheme includes requirements in V1 and V2 of the TNI Standard. ORELAP wants to make it very clear that we have not chosen to adopt, nor plan to adopt, the nine ISO standards referenced in Note 1. ORELAP suggests modifying Note 2 to limit accreditation scheme to “only” V1 and V2 of the TNI Standard, to make it clear the ISO documents from Note 1 are not required for TNI/NELAP accreditation bodies. This revision would not preclude accreditation bodies from adopting additional schema. Proposed revision: “NOTE 2 to entry: For The NELAC Institute’s Environmental Laboratory Sector (ELS) standards, the accreditation scheme requirements include only Volume 1, “Management and Technical Requirements for Laboratories Performing Environmental Analysis” and Volume 2, “General Requirements for Accreditation Bodies Accrediting Environmental Laboratories.” | change ELS to EL as above, and include the word "only" as recommended | 2021-04-20 | staff will follow up about need to remove EL designation from V3 and V4 -- not a LAB issue but those modules also apply to NEFAP
10 | NP |  | 4.2 | TNI V2M1 section 4.2 Accreditation Agreement (ISO/IEC 17011:2017(E), Clause 4.2) Section (E): “to have, where applicable, legally enforceable arrangements with their clients that commit the clients to provide, on request, access to accreditation body assessment teams to assess the conformity assessment body’s performance when carrying out conformity assessment activities at the client’s site;”. Comment: This section language could be open for interpretation, the term “legally enforceable arrangement with their clients” is confusing. Per state regulations the laboratory must agree to admit the accrediting authority access to perform assessments even unannounced. Further language for clarification would be acceptable. The addition of a note for clarification such as: Suggested language: “Note: Laboratories must have legally enforceable arrangements with their clients if the laboratory is located with premises which are control by their client.” | subsection c of §4.2 addresses the expressed concern | 2021-04-20
11 | NP |  | 9.7 | 9.7 and 9.8: We have assumed that internal audits and management reviews conclude with written reports of findings and recommendations. However, upon close examination, I cannot find a requirement to do so. Even though there seems to be a historical understanding that reports are required, a standard is needed if it is not otherwise covered elsewhere. The corresponding laboratory standards DO include such reporting requirements. | no change | 2021-05-18 | that would be too much detail; documenta-tion that the audit/review was done is sufficient
12 | P |  | 4.2.a | 4.2.a This is newly modified ISO language. The requirement is for the AB to “establish a legally enforceable arrangement” with each lab that requires the lab to “conform to at least the following: to commit to fulfill continually the requirements for accreditation … This includes agreement to adapt to changes in the requirements for accreditation.” Problem/Justification: The ISO language in the former revision followed the underlined portion with this phrase, “as set out in 8.2.4.” Section 8.2.4 described a process with public input akin to the regulatory process. This revision of ISO language removes reference to that process and instead more simply states a requirement for the AB to have a legally enforceable arrangement to require the Lab to agree to adapt to changes, period. This language is likely to be frowned upon in the process for adoption (incorporation by reference) in some states. [However ISO language in 8.2.3 still makes this requirement for notification of change.] Suggested solution: A NOTE is needed in this section that links this requirement to section 8.2.3 so that it’s not a potential TNI evaluation issue when a state cannot specifically demonstrate that it has established an agreement to this clause. Suggested language: NOTE: Any accrediting body that makes changes in the requirements for accreditation will first follow the requirements of Section 8.2.3. For governmental accrediting bodies, these changes may occur through revisions to regulations. | add "Note: See clause 8.2.3." | 2021-05-18 | the requested explanation is covered in other clauses
13 | NP |  | 4.2.e | V2M1 4.2.e Accreditation Agreement -- As written, 4.2.e requires the laboratory to have legally enforceable arrangements with their clients to provide, on request, access to the accreditation body assessors to assess the laboratory’s performance when carrying out laboratory activities at the client site. In other words, the laboratory’s clients must allow NELAP assessors to come to the client’s premises. ORELAP is not sure how we could enforce this requirement. Existing statutes and rules do not give us any authority over the laboratory’s clients. In addition, it seems this requirement would put accredited laboratories at a disadvantage in the competitive bid process. If a laboratory were to appeal this to the state, I could see a worst-case scenario being ORELAP having to withdraw from NELAP. Moreover, this requirement does not consider national security clearances or other obstacles that may preclude assessors from coming to the client’s premises. ORELAP very strongly recommends adding a note below 4.2.e to clarify that for governmental accreditation bodies, state or federal law may preclude us from requiring laboratories to require their clients to allow NELAP assessors onsite. Proposed revision under 4.2.e: “NOTE: State or federal law may preclude governmental accreditation bodies from requiring laboratories to have legally enforceable arrangements with their clients to allow the assessment team access to the client’s premises.” |  | 2021-05-18 | this requirement would only apply if the assessment were taking place at the client facility, which is simply not how environmental labs work
14 | NP |  | 4.2.i | 4.2 i) NOTE – As notes are not enforceable, TNI should add language indicating that these notes are required to avoid any confusion and any possibility of these items not being enforceable | these items are not required of the AB, but rather of the lab. No note in Volume 2 can make that happen. | 2021-05-18 | this language should be in V1M2; Quality Systems Expert Committee will be requested to consider adding it there
15 | NP |  | 4.3.2 | 4.3.2 IMPLEMENTATION NOTE: A statement from TNI giving permissions to use the TNI accreditation symbol(s) to ABs will be necessary for ABs to be compliant with this requirement. | we are unable to put such a statement in the standard itself. However, the annual invoice letter from TNI to the ABs will now include a statement specifically authorizing the AB (NELAP ABs and NGABs) to use the symbol | 2021-05-18 | this comment is being addressed administratively within TNI
16 | P |  | 4.3.3.b | 4.3.3.b Some have no idea what “affixed on its own” means. Please provide a clarifying note so that users will understand their responsibility and evaluators will understand what they are to expect. (Also note: ownership of the logo issued by TNI will need to be managed by TNI, however “affixed on its own” still needs clarification as to what this means and how it will be evaluated.) | Add a note at the end of §4.3.3 to say "Compliance with the TNI Policy on symbols and logos will satisfy the requirements of clauses 4.3.2 and 4.3.3." | 2021-05-18 | TNI's Executive Director has been asked to add reference to POL 1-103, Use of TNI Symbols and Logos, to the annual invoice letter, noting that compliance with that policy is required.
17 | P |  | 4.4.11 | 4.4.11 This is new ISO language. Its requirement cannot always be met if it conflicts with the establishment in state regulation of a state as an accrediting body within the same division as the state laboratory (or other listed service, such as provider of proficiency testing). ISO language does not over-rule state regulatory requirements. This could be a cause for veto from one or more state ABs, since many ABs are situated within government structures that include testing, or, in one case, providing proficiency testing. Suggested solution: A NOTE is needed that exempts states from this requirement if state structure is established in conflict with the ISO language. (Note: numerous impartiality requirements in 4.4 still apply to these ABs and these ABs will need to demonstrate risks for impartiality have been identified and managed.) Suggested language (formatted from note already existing in 4.4.12): NOTE: An accreditation body and related bodies within a Government department or entity might provide conformity assessment activities as directed by Government. | This is one of 4 comments on this section. All are persuasive. Language suggested in comment 83 was deemed the best language to add to the Draft Standard. | 2021-06-15
18 | P |  | 4.4.11 | TNI V2M1 section 4.4.11 The accreditation body and any part of the same legal entity shall not offer or provide any service that affects its impartiality, such as: a) those conformity assessment activities covered by accreditation which include, but are not limited to, testing, calibration, inspection, certification of management systems, persons, products, processes and services, provision of proficiency testing, production of reference materials, validation and verification; b) consultancy…. Comments: The laboratory accreditation program like most programs are under federal approval in environmental testing for public health concerns which may provide services to the citizens of the state that involve personnel in testing, inspections and or processes and services. Suggest note to be added: Suggested language: “Note: Governmental bodies in which are associated with public health may require personnel to be indirectly or directly involved with testing, inspections and/or other processes or services for the health and safety of their citizens.” | This is one of 4 comments on this section. All are persuasive. Language suggested in comment 83 was deemed the best language to add to the Draft Standard. | 2021-06-15
19 | P |  | 4.4.11 | 4.4.11 This is new ISO language. Its requirement cannot be met as it conflicts with the establishment in state regulation of this state as an accrediting body within the same division as the state laboratory. ISO language does not over-rule state regulatory requirements. This could be a cause for major concern from one or more state ABs, since many ABs are situated within government structures that include testing, especially in situations where they are located in Health Departments.Suggested solution: A NOTE is needed. Suggested Edit (formatted from note already existing in 4.4.12): NOTE: An accreditation body and related bodies within a Government department or entity might provide conformity assessment activities as directed by Government. In such cases, the accreditation body must have effective measures to manage impartiality risks. | This is one of 4 comments on this section. All are persuasive. Language suggested in this comment (83) was deemed the best language to add to the Draft Standard. | 2021-06-15
20 | P |  | 4.4.11.a | Section 4.4.11.a: The requirement that the conformity assessment activities such as testing not be offered by the accreditation body nor any part of the same legal entity is not appropriate for all government agencies. Typically, the testing services and accreditation services are both performed by the same government agency. As such, state Accreditation Bodies (ABs) that reside in an agency that also has a laboratory could not conform to this standard. Additionally, if Section 4.4.12 was intended to apply to state ABs, it would not apply as they are not “linked” to a body undertaking testing, but rather are a part of the same legal entity. Therefore, only Section 4.4.11.a would apply. We suggest adding a note in Section 4.4.11.a that governmental entities that also perform testing are considered to meet this requirement if effective mechanisms to prevent any influence on the outcome of any accreditation activity are employed.Section 4.4.11.a: The requirement that the conformity assessment activities such as testing not be offered by the accreditation body nor any part of the same legal entity is not appropriate for all government agencies. Typically, the testing services and accreditation services are both performed by the same government agency. As such, state Accreditation Bodies (ABs) that reside in an agency that also has a laboratory could not conform to this standard. Additionally, if Section 4.4.12 was intended to apply to state ABs, it would not apply as they are not “linked” to a body undertaking testing, but rather are a part of the same legal entity. Therefore, only Section 4.4.11.a would apply. We suggest adding a note in Section 4.4.11.a that governmental entities that also perform testing are considered to meet this requirement if effective mechanisms to prevent any influence on the outcome of any accreditation activity are employed. | This is one of 4 comments on this section. All are persuasive. Language suggested in comment 83 was deemed the best language to add to the Draft Standard. | 2021-06-15
21 | P |  | 4.4.12.a | 4.4.12.a This is not new ISO language but is language conveying a requirement that cannot always be met in state agencies when the regulation specifies the duties and structure of an agency. Different “top management” is not always possible. Suggested solution: A NOTE is needed that exempts states from this requirement if state structure is established in conflict with the ISO language. (Note: numerous impartiality requirements in 4.4 still apply to these ABs and these ABs will need to demonstrate risks for impartiality have been identified and managed). Suggested language (formatted to match note already existing in 4.4.12): NOTE: An accreditation body and related bodies within a Government department or entity might not have different top management. [Section 4.4.12 would now have NOTE 1 and NOTE 2.] | add note as suggested | 2021-06-15
22 | P |  | 4.4.12.d | 4.4.12 d) Note – This Note is in direct conflict with 4.4.12 c. Comment 1 – a Note is note enforceable. Comment 2 – this Note, even if made an enforceable non-Note, creates a direct conflict wherein the Standard says that if the AB offers the services in 4.4.11, it shall have a different name, logo and symbol, by saying that they ‘might not’ have a different name, logo and/or symbol. You can’t do that. The Note and the statement contained therein must be removed or the Standard is in conflict with itself and must be rejected. | remove this note but keep the new note added from comment #46 above | 2021-06-15
23 | NP |  | 4.4.13 | 4.4.13 uses the term ‘scheme owner’. This term also appears in a note to a definition (3.33). Please define this term, as it is unclear what it means. |  | 2021-06-15 | definitions can be found at www.iso.org with browser search, not needed here; see "PUB100439.pdf"
24 | NP |  | 4.4.3 | TNI V2M1 section 4.4.3 “It shall document and make public an impartiality policy which includes the importance of impartiality in carrying out its accreditation activities, managing conflict of interest, and ensuring objectivity of its accreditation activities.” Comments: This language requires the accrediting authority to publish its standard operations which is usually internal for laboratories under V1M2. States do have ethics laws publicly available in which they are to conduct themselves impartially, and all state employees are held to uphold. Suggested language would eliminate the need to publication such specific operational procedures but if requested will be supplied. Suggested language: “Note: Governmental bodies are under the authority of state’s regulation for publish ethical rules of conduct which are available.” |  | 2021-06-15 | language already exists in state law or regulation and applies to all state employees, so the information is already public.
25 | P | x | 4.4.5 | 4.4.5, 6.3, 7.6.2: These clauses refer to "ISO/IEC 17011:2017(F)." I suspect "F" is a typo that should be "E." | edit made | 2021-06-15
26 | NP |  | 4.4.5 | TNI V2M1 4.4.5 The accreditation body shall document and implement a process to provide opportunity for effective involvement by interested parties for safeguarding impartiality. The accreditation body shall ensure a balanced representation of interested parties with no single party predominating. Comments: Governmental bodies are required to involve public comments and governed through public councils and boards which may not be able to safeguard balanced representation. A note should be included for this clarification. The state Oklahoma has public comment through a council and board which may not be balanced through the selection of representatives appointed by legislative bodies. Suggested language: “Note: Governmental bodies involved in public participation, comments through public meetings, councils, and boards may not have balanced representation in a specific program through regulations that appoint representation.” | The fact that rulemaking comments can be submitted by everyone covers the need for "balance". This section does not require that every single group involved in the process be balanced. | 2021-06-15
27 | NP |  | 4.4.9 | 4.4.9 – It seems that this section on impartiality is addressed toward the AB. It should be made clear that this is a reflection on the AB and THEIR impartiality, resulting in the AB not being impartial and thus not be able to offer accreditation. |  | 2021-06-15 | this module is entirely devoted to ABs so the desired outcome is already obvious.
28 | NP |  | 6.1.2.6 | 6.1.2.6 Note 2 has been stricken. Is it the intent of the Standard to eliminate the ability of an assessor to communicate through a translator or interpreter? |  | 2021-06-15 | The standard is silent on the use of translators or interpreters, thus their use is allowed.
29 | NP |  | 6.1.2.9.1 | 6.1.2.9.1 is totally unequitable and non-uniform when compared to the insistence among ABs that laboratory Technical Managers be required to have Bachelors Degrees as well as specified credits in various disciplines. If commensurate experience is allowed for those who would assess laboratories, then commensurate experience MUST be allowed for those who are running those laboratories. There cannot be this unequitable ability to rely on commensurate experience on the one hand, but not on the other. | The TM role will no longer exist in the next revision of Volume 1 (V1M2). Additionally, the committee believes that the qualifying requirements for an assessor and a Quality Manager need not be similar. If timing of revisions allows, LAB will consider checking the status of the Technical Specialist qualifications prior to finalizing V2M1 | 2022-09-25 | discussed at August 2,2021, conference session; determination of persuasive/non-persuasive postponed. Postponement affirmed 3/22/22. Vote taken 9/25/22
30 | P |  | 6.1.2.9.2 | The following language should be removed so competency and training can be determined by the TNI Competency Task Force as no training course currently exists: “6.1.2.9.2 An assessor shall complete and pass assessor training courses that include obtaining a passing score on the written examination at the conclusion of the course. These training courses shall include, but not be limited to: (a) TNI proficiency testing and quality management systems assessment training (specifically, TNI ELS Volume 1, Modules 1 and 2); (b) TNI technical module assessment training (e.g., TNI ELS Volume 1, individual Modules 3 through 7); and (c) Technical discipline assessment training as required by the Accreditation Body for the accreditation scheme(s) supported. NOTE: Examples of technical discipline assessment training could include the U.S. EPA Safe Drinking Water Act Certification Officers training courses in Microbiology, Inorganic Chemistry, and Organic Chemistry; or technical assessment training courses approved and offered by The NELAC Institute (TNI). “ | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2; b) assessment to TNI EL Volume 1 modules 3 through 7 (and any subsequent modules that may be developed);
31 | P |  | 6.1.2.9.2 | 6.1.2.9.2: "...These training courses shall include, but not be limited to:..." The list here includes training courses that may not yet exist, and thus cannot be required. If the intent is to require certain courses, then the list must be specific (i.e. course name and/or number). If the intent is to provide examples, then the above wording must be changed. Finally, terms such as "TNI technical module assessment training" are undefined. What is meant by TNI training? TNI approved? Listed on the TNI website? Based on the TNI standards? | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
32 | P |  | 6.1.2.9.2 | V2M1 6.1.2.9.2 -- ORELAP believes this section is too prescriptive. ORELAP considers “basic assessor training” to be necessary but does not believe each assessor needs to pass a written exam on each module. At that point we’re just giving the assessor a reading test. ORELAP was led to believe these proposed revisions were added to increase consistency among assessors. ORELAP does not agree the draft language will increase consistency. We believe the draft language will require NELAP accreditation bodies to develop their own training materials, in part because the current training catalog available to assessors through TNI or other groups is limited. ORELAP strongly recommends dropping the requirement for TNI training on specific modules and adopting language that is more general to give the accreditation body options. We also recommend removing the requirement for passing a written exam for technical discipline assessment training. Proposed revision: “6.1.2.9.2 An assessor shall complete assessor training courses, including, but not limited to: (a) Basic assessor training with emphasis on the TNI Standard, with a passing score on a written examination at the conclusion of the course; (b) Technical discipline assessment training as required by the Accreditation Body for the accreditation scheme(s) supported. | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
33 | P |  | 6.1.2.9.2 | 6.1.2.9.2 Issue 1: Language in this section should be reverted to the language currently in V2M3 4.2.4. The change to addition of written tests in the technical modules, when they do not currently exist, is unnecessary. TNI should consider this addition to the basic assessor course or consider creating an additional course. However, the idea of creating a requirement then creating training that meets it, for training that MAY OR MAY NOT bring added value to assessor performance, is poor practice. (Once the training is built and is determined by ABs to have added value for training of new staff, perhaps THEN the requirement will be added to a future revision of Volume 2.) | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
34 | withdrawn by submitter during LAB meeting, 9/21/21 |  | 6.1.2.9.2 | 6.1.2.9.2 Issue 2: Any change in qualifications for a position already held needs to include language which exempts those already deemed qualified for the position prior to the implementation of the new requirement. (The added training or newly available training should be recommended but not required for these staff members.) Language for this provision can be modeled after TNI 2016 V1M2 5.2.6.2.c. | withdrawn by submitter during LAB meeting, 9/21/21 | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
35 | P |  | 6.1.2.9.2 | 6.1.2.9.2 Issue 3: The NOTE from 2009 TNI V2M3 4.2.4 stating “Technical disciplines applicable to the environmental sector include microbiology, toxicity testing, inorganic non-metals, metals, organics, asbestos, radiochemistry, and field activities” was indicated under 6.1.2.9.3 as being removed language. This NOTE provided helpful clarity to ABs regarding how the requirement for “technical discipline” training would be evaluated and should remain in the Standard under 6.1.2.9.2 to help preserve consistency of interpretations of this requirement in the future. | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
36 | P |  | 6.1.2.9.2 | 6.1.2.9.2 Comment: The addition of a description of what an AB needs to do if “commensurate experience…” option is used is an improvement over the current standard which does not require this record of justification. Please leave that phrasing in, should this section be otherwise edited / reverted to the previous language. | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
37 | P |  | 6.1.2.9.2 | 6.1.2.9.2 Language in this section should be reverted to the language currently in V2M3 4.2.4. The change to addition of written tests in the technical modules, when they do not currently exist, is unnecessary. The idea of creating a requirement then creating training that meets it for training that MAY OR MAY NOT bring added value to assessor performance is poor practice. In addition any change in qualifications for a position already held needs to include language which exempts those already deemed qualified for the position prior to the implementation of the new requirement. Please also consider leaving in the NOTE from 2009 TNI V2M3 4.2.4 stating “Technical disciplines applicable to the environmental sector include microbiology, toxicity testing, inorganic non-metals, metals, organics, asbestos, radiochemistry, and field activities” was indicated under 6.1.2.9.3 as being removed language. This NOTE provided helpful clarity to ABs regarding how the requirement for “technical discipline” training would be evaluated and should remain in the Standard under 6.1.2.9.2 to help preserve consistency of interpretations of this requirement in the future. If this note is removed every evaluation team will interpret this differently. | specific language TBD at later date | 2021-10-26 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
38 | P |  | 6.1.2.9.2 | Section 6.1.2.9.2: The standard is requiring assessors to complete training courses that do not currently exist. As such, ABs would not be able to conform to the standard as written. Additionally, because the training does not exist, it is impossible to determine if the requirement to pass a written exam in these trainings is an improvement to the existing training requirements in the standard. Because of the uncertainty in the availability of and the resulting improvement of the training, we suggest that the language should be reverted to the language currently in V2M3 4.2.4 of the TNI Standard. The language can be changed in future revisions once the training courses are established and proved to be beneficial. If the requirement to complete the training is retained, we suggest adding language to deem an assessor as having satisfied the requirements of the standard if they were deemed competent prior to the implementation of this standard. | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
39 | P |  | 6.1.2.9.2.b | TNI V2M1 section 6.1.2.9.2 (b) – TNI technical module assessment training (e.g., TNI ELS Volume 1, individual Modules 3 through 7). This language is acceptable however this requirement is not yet achievable within the TNI organization. To better implement this requirement an implementation date should be set in place until TNI have developed all module training tools. Suggested language should be in the form a note: “Note: This requirement will not available until all TNI training modules have been developed and approved for use. Implementation of this section will occur when TNI has a robust completed training program.” | specific language TBD at later date | 2021-09-21 | At the 8/17/21 committee meeting, language discussed at conference was approved as follows, but comments were not ruled persuasive or non-persuasive. 6.1.2.9.2….These training courses shall include, but not be limited to: a) assessment to TNI EL V1 Modules 1 and 2 (proficiency testing and quality management systems); b) assessment to TNI EL Volume 1 modules 3 through 7 and any subsequent modules that may be developed;
40 | P |  | 6.1.2.9.3 | 6.1.2.9.2 and 6.1.2.9.3 both use the acronym TNI ELS Volume 1. The Environmental Laboratory Modules are referenced as TNI EL V#, rather than TNI ELS V#. See the header to this Draft Standard for such usage. |  | 2021-03-16 | determined persuasive 3/16/21; to be addressed later along with §3.8 comments
41 | P |  | 6.1.2.9.3 | TNI V2M1 6.1.2.9.3 “An assessor shall complete on-going refresher training that includes any revisions to the TNI ELS Volume 1 Standard, plus any additional refresher training as required by the Accreditation Body. NOTE: The Accreditation Body may require a written examination with a passing score as evidence for the ongoing (refresher) training of its assessors.” Comments: The note may be miss leading and subject for interpretation as requiring the assessor to participate in a written examination with a passing score. Suggestion to notes: “NOTE: The Accreditation authority may introduce a written examination with a passing score as evidence for the ongoing (refresher) training of its assessors.” | revise wording of note to read “The Accreditation Body may choose to require a written examination with a passing score as evidence for the ongoing (refresher) training of its assessors.” | 2021-08-17
42 | NP |  | 6.1.2.9.4 | 6.1.2.9.4 has been removed. Does this eliminate the requirement to provide attestation statements if so requested by the laboratory? |  | 2021-03-16 | not a comment, but the AB will need to provide the attestation statement
43 | persuasive but editorial | x | 6.1.3.2 | 6.1.3.2 I believe there is a typo in the Note accompanying this section. Should it read “One method of evaluating an assessor”, rather than “as assessor”? | error in ISO language corrected | 2021-03-16
44 | P |  | 6.1.3.2.b | 6.1.3.2 b) Note states “…allowing the assessor to conduct some parts of the assessment independently”. Comment – Notes aren’t enforceable, so if this is presumably clarification an making this allowance, it is in direct conflict with 6.1.3.2.1, which requires that “Before an assessor is allowed to perform unsupervised assessments for an accreditation body, the assessor shall have performed a minimum number of assessments under the supervision of an assessor whose competence has been qualified by the accreditation body.” If you intend to set the minimum number of unsupervised assessments to zero by allowing unsupervised assessments as in the note in 6.1.3.2 b, then delete 6.1.3.2.1. I suggest that the note in 6.1.3.2.1 b be deleted. | the note will be removed. | 2021-06-15
45 | NP |  | 6.1.3.5 | 6.1.3.5 A note should be added stating that observation of assessors from a remote location meets the requirement. Suggested language: NOTE: It is permissible for monitoring from a remote location to meet the on-site evaluation requirement. Justification: Remote observation of assessors for the purposes or training and/or evaluation is an effective tool which needs to be specifically allowed so the allowance not subject to interpretation. | no action taken | 2021-07-20 | submitter is invited to review the committee's response and comment again on the Draft Standard Version 1 when published
46 | P |  | 6.1.3.7 | 6.1.3.7 Unnecessary; removal suggested. Justification: See 6.3. | section removed | 2021-07-20
47 | P |  | 6.2.2.1.e | 6.2.2.1 e – To clarify solicitations or gifts, I suggest adding a statement to the effect that items provided at a trade show or conference that are available to any attendees at such a show or conference are allowed for assessors to accept. | wording changed to state "not solicit or accept any gift or other item of monetary value from any CAB, which would compromise the impartiality or objectivity of the accreditation process ;"
48 | P |  | 6.4.1.1 and 7.6.6.b.3 | 6.4.1.1 - re: TNI language re: review/approval of assessment reports when portions of the accreditation process are contracted out. Consider that ISO language in 6.4.5 requires the AB to "take responsibility for all activities outsourced to another body" and 7.6.6.b.3 has TNI language on this topic too (language that allows the report "not be" issued by the AB). | remove 7.6.6.b.3 | 2022-09-25
49 | P | x | 7.11.1.2 | 7.11.1.2 Edit: consistently capitalize (or, don’t capitalize) the first letter of subparts. Justification: Consistency | all will be capitalized | 2021-07-20
50 | P |  | 7.11.1.4 | 7.11.1.4 A timeframe should be included in this requirement in which the AB shall change a lab’s status from suspended to accredited. This should be done as soon as possible or even immediately when the demonstration of compliance has been made. | text revised to state "The accreditation body shall change the CAB’s accreditation status from suspended to accredited within 30 calendar days after when the CAB demonstrates to the accreditation body that it complies with the relevant requirements." | 2021-07-20
51 | P |  | 7.11.1.5 | 7.11.1.5 ‘and the CAB is required to reapply for accreditation.’ should be part of a new sentence. If the laboratory chose to continue operations with withdrawn or reduced accreditation, this statement as written would require them to reapply. I assume that this is not the intent, but it is what the Standard says. Rather, it should say ‘…the accreditation body shall withdraw or reduce the CAB’s accreditation for those Fields of Accreditation for which the laboratory has failed to correct the causes of the suspension. If the laboratory wishes to subsequently be accredited for such Fields of Accreditation, it is required to reapply for accreditation.’ | text revised to state "If the CAB fails to correct the causes of suspension within six months after the effective date of the suspension or by the end of the period of accreditation (whichever comes first), the accreditation body shall withdraw or reduce the CAB’s accreditation for the Scope of Accreditation for which the CAB has failed to correct the causes of the suspension. If the CAB wishes to subsequently be accredited for the withdrawn or reduced Scope, the accreditation body shall require and the CAB is required to reapply for accreditation." | 2021-07-20
52 | P |  | 7.12.1 | V2M1 7.12.1 Note -- This note appears out of place and not relevant to the text in 7.12.1. ORELAP recommends striking this note. | note is deleted | 2021-10-26
53 | P |  | 7.12.1 | 7.12.1 Note is not necessary. Justification: See 7.12.8 | note is deleted | 2021-10-26
54 | P |  | 7.13.1 | 7.13.1: The Note in this clause was added to clause 7.6.2 of the 2009 standard to clarify language that no longer appears in this version. In the current context, it is confusing and should be removed. | note is deleted | 2021-10-26
55 | P |  | 7.13.1 | V2M1 7.13.1 Note -- This note appears out of place and not relevant to the text in 7.13.1. ORELAP recommends striking this note. | note is deleted | 2021-10-26
56 | P |  | 7.13.1 | 7.13.1 Note is not necessary. Justification: See 7.13.8 | note is deleted | 2021-10-26
57 | P |  | 7.14.2 | 7.14.2 This statement, that records shall be retained for at least the duration of the current cycle plus the previous full accreditation cycle is slightly ambiguous because there is no TNI language in the document clarifying that the “accreditation cycle” is two years plus or minus six months. The other references to accreditation cycle are in ISO language which refers to a 5 year cycle. (ex: 7.9.1) Suggestion: Add a NOTE either under 7.14.2 that states the accreditation cycle is two years plus or minus six months. OR, perhaps more simply, edit 7.9.4.1 to say “… reserve the right to assess a CAB at any time during this accreditation cycle.” Using “this” would clarify that the TNI application of the term accreditation cycle is the two year period plus or minus six months referenced in the previous sentence. | new §7.14.3 added, to read "The accreditation body shall maintain records on conformity assessment bodies for a minimum of five (5) years." | 2021-10-26
58 | NP |  | 7.4.4 | V2M1 7.4.4 Note 1 and Note 2 -- ORELAP believes these notes provide useful background information and we have referred to these notes when taking enforcement action. ORELAP suggests keeping the notes. | notes will not be restored into Draft Standard Revision 1 | 2021-10-26 | notes were deleted after being moved into the original draft from 2009 Standard V2M3. Notes should not be the basis for any enforcement action.
59 | P |  | 7.5.2 | 7.5.2 Note – The use of ‘should’ in the note should be replaced with ‘shall’, or the note (which isn’t enforceable) has even less meaning. | a new clause 7.5.3 was added, to read "Accreditation bodies shall inform CABs of a cancellation of an assessment as soon as feasible." | 2021-10-26 | "shall" is a requirement and cannot be in a note.
60 | P |  | 7.6.11 | 7.6.11 Edit for clarity: Add the end of 1st sentence, add: “ …, providing thirty days to respond.” Justification: This provision (for timeframe lab to respond 2nd time) has not been stated. (To be clear, this section needs to give BOTH the AB and the CAB 30 calendar days to respond in this second round. Only one of the 30 days provisions (that of the AB?) was stated, as currently written.) | approved language "the AB shall advise the CAB that a response is required within 30 calendar days" | 2021-11-16 | should be rephrased to make this an AB requirement, instead of a lab requirement
61 | P |  | 7.6.12 | 7.6.12 Edit for clarity: “ … to resolve the nonconformity(ies) after two attempts, the accreditation body …”. Justification: Paragraph has potential to be unclear or mis-interpreted: needs to be quotable in a regulatory letter with its full context, not relying on the previous paragraphs for context. | New language: If any part of the amended corrective action report is considered insufficient or inappropriate to resolve the nonconformity(ies), the accreditation body shall implement its procedures to deny, suspend, withdraw, or reduce accreditation for the Scope of Accreditation that is affected (clause 7.7). | 2021-12-21 | similar to comment #51, but different perspective
62 | P |  | 7.6.13 | Suggest adding Section 7.6.8.1 to the list of clauses that Section 7.6.13 applies to. As written, an AB who grants an extension to a CABs corrective action beyond 30 days would not be conforming to the requirement in Section 7.6.8.1. ABs should have the flexibility to allow extensions to laboratories as needed. This includes when the 30th day falls on a weekend or non-business day. This a a fairly regular occurrence. Adding Section 7.6.8.1 to the list would allow ABs to grant extensions provided they meet the requirements in Section 7.6.13. If the list is not revised, it will have a detrimental effect on laboratories because they will have less time to submit their corrective action plans when the 30th day falls on a weekend and they will no longer be granted any extensions by ABs when requested. | New language: When the last day of a thirty calendar day timeframe specified within this section occurs on a non-business day, such as a holiday or weekend, the due date for completion of the action is extended to the next business day. Any other extensions to the timeframe requirements shall be justified by prevailing statutory regulations or by documented, exceptionally permitted reasons for the delay. The accreditation body shall communicate such extensions to the conformity assessment body with information on the expected date of completion. | 2021-12-21 | this resolves SIR 362
63 | P |  | 7.6.13 | 7.6.13 - re: TNI language on extending the 30-day period if it falls on a weekend/holiday - I think the last sentence needs to be removed, and this should be written to "allow" or "accept" the extension of the 30 days rather than to "require" it. As currently written, this "permission" becomes burdensome (wherein all deadlines that fall on a weekend must be manually adjusted to a weekday or else the AB is not meeting the standard.) Suggested language: 7.6.13 When the last day of a the thirty calendar day timeframes specified within this section in clauses 7.6.6(b)(1), 7.6.10, or 7.6.11 occurs on a non-business day, such as a holiday or weekend, the due date may be met by submission of the required response on the next business day. the due date for completion of the action is extended to the required accreditation body actions performed on the next business day shall be considered to meet the timeframe requirements. Any other extensions to the timeframe requirements shall be justified by prevailing statutory regulations or by documented, exceptionally permitted reasons for the delay. The accreditation body shall communicate such extensions to the conformity assessment body with information on the expected date of completion. | language was revised earlier to allow for undocumented extensions for weekends/holidays and documented extensions for other exceptional reasons | 2022-09-25 | Issue was once submitted as SIR 262 that was later withdrawn after failure to reach agreement on response to the SIR
64 | P | x | 7.6.2.1 | 7.6.2.1 Edit: Change opening conference to opening meeting. Justification: consistency with ISO terminology. | change made | 2021-11-16
65 | P | x | 7.6.3.2 | 7.6.3.2 Edit: Remove 2nd reference to “on-site”; will read “before conclusion of the assessment”. Justification: Consistency with other omissions of specific reference to “on-site” | committee members believe that all references to "on-site" were already removed; that was our intent. A new search will be made to ensure this is complete | 2021-11-16
66 | NP |  | 7.6.4.1 | V2M1 7.6.4.1 -- ORELAP assessors are not investigators and should not be tasked with evidence gathering for environmental crimes. ORELAP believes this is outside the scope of TNI. We recommend striking section 7.6.4.1 entirely. | language was revised in response to comment #80: In the event the assessment team observes possible improper and/or potentially illegal activities, the team shall present such information to the accreditation body for appropriate action(s) as defined by the accreditation body's procedure. The information must be carefully documented by the team. The assessment team shall continue to gather the information necessary to complete the accreditation assessment and present the information as defined by the accreditation body's procedures. | 2021-12-21 | EPA insists that some version of this be included, going back to 2003 NELAC Standard. Committee members agreed to something like "the assessment team shall present the information to the AB for further action".
67 | P | x | 7.6.4.1 | 7.6.4.1 Edit: Change closing conference to closing meeting. Justification: Consistency with ISO terminology. | change made | 2021-11-16
68 | P |  | 7.6.4.1 | TNI V1M2 7.6.4.1 “During the assessment, sufficient information may become available to suspect that a particular person has violated an environmental law or regulation, such as knowingly making a false statement on a report. This information must be carefully documented since further action may be necessary. In the event that evidence of improper and/or potentially illegal activities have or may have occurred, the assessment team shall present such information to the accreditation body for appropriate action(s). These issues, at the discretion of the accreditation body, may or may not be subjects or issues at the closing conference. However, the assessor shall continue to gather the information necessary to complete the accreditation assessment. [NOTE: from 2003-NELAC, section 3.6.2]”. Comments: The last sentence in this section requires the assessment teams to perform investigative evidence of improper or potential illegal activities. This is not the function of the assessment team to act as investigators in such legal activities. It is suggested to clarify this requirement with notation. The function of the assessment team is to evaluate the capabilities of the laboratory and if so instructed by the legal staff may continue to investigate. Suggestion to add note: Note: At the discretion of the accrediting authority the assessment team may be directed to act as investigators at the direction of the legal staff. | New language: In the event the assessment team observes possible improper and/or potentially illegal activities, the team shall present such information to the accreditation body for appropriate action(s) as defined by the accreditation body's procedure. The information must be carefully documented by the team. The assessment team shall continue to gather the information necessary to complete the accreditation assessment and present the information as defined by the accreditation body's procedures. | 2021-12-21 | this is a variation of comment #37. the language will be revised.
69 | P | x | 7.6.6.a.2 | 7.6.6.a.2 Edit: Change closing conference to closing meeting. Justification: Consistency with ISO terminology. | change made | 2021-11-16
71 | P |  | 7.6.6.b | 7.6.6 b) 2 includes a bullet ‘Key Laboratory Personnel (e.g., technical manager, QA officer, etc.). I suggest changing this to ‘Key Laboratory Personnel as named in the AB’s application for accreditation’ or some such language since ‘Key Laboratory Personnel’ hasn’t been otherwise defined. | rephrase to "key lab personnel as defined by the AB" | 2021-12-21 | clause 4.2.i mentions key personnel in a note, but does not define them.
72 | NP |  | 7.6.6.b.2 | V2M1 7.6.6.b)(2) -- ORELAP is concerned the list of contents for assessment reports is too prescriptive. ORELAP recommends striking the following elements from 7.6.6.b.2: - Physical Address; - Scope of Accreditation Matrices that were assessed; - Test Methods that were assessed, including preparation methods when separate or different from the analytical method; - Key Laboratory Personnel; and - Laboratory personnel interviewed at the time of the assessment. What is the perceived benefit of including this information in the report? Accreditation bodies maintain this information in other ways, so there is no improvement in record keeping or traceability. ORELAP believes this will make reports longer without adding any value and increases the risk of transcription errors in accreditation records. Without the above elements, the report will still be traceable to the laboratory and indicate the degree of compliance or non-compliance to The Standard, which is the sole purpose of the assessment report. |  | 2021-12-21
73 | NP |  | 7.6.6.b.2 | 7.6.6.b.2 Minimum contents of assessment report: This AB disagrees with requirement to include names of key lab staff and names of personnel interviewed in all reports. (Additional time constraint; opportunity for error; time better spent on other details.) This AB does not believe the absence of this information on reports detracts from the laboratory’s responsibility to respond with corrective actions. |  | 2021-12-21 | EPA wants interviewee names in the report
74 | NP |  | 7.6.6.b.2 | 7.6.6 b) (2) What is the benefit of including the entire list of the test methods assessed at a laboratory. The AB maintains information in their records like schedules and onsite notes and checklists that could provide this information, but there is not added value to provide this list in the final report. |  | 2021-12-21 | NELAP ABs previously agreed to this so that ABs that require accreditation for prep methods could tell from the report whether or not the preparation part of the method was assessed, when the lab applies for secondary accreditation for the prep method
75 | NP |  | 7.6.6.d | 7.6.6 d) Since 7.6.6 a) already requires that nonconformities be delivered in writing, it appears that 7.6.6 d) is redundant. | (this deals with time after the assessment is concluded) | 2022-03-22 | Not redundant. “a” thru “c” are during assessment. “d” refers to non-conformances identified after assessment is completed.
76 | P |  | 7.6.6.d | 7.6.6.d Recommend omitting or clarifying intent. Justification: If “after assessment is concluded” means after the closing meeting, paragraph is not adding information not already communicated in 7.6.6.c. If the phrase means after the report is issued, it is unclear and needs to be made clearer. | Consensus among committee that the intent is to apply to non-conformances identified after the assessment is concluded/complete. | 2022-03-22 | proposed language accepted by committee consensus, 4/19/22
77 | P |  | 7.6.7.1 | 7.6.7.1 Why are we allowing anybody but the accreditation body to release a final report? Why is the language in 7.6.7.2 where the report has to be released by the accreditation body being removed? This also seems to go against 7.6.6 b)1 The final report should not be being released to the CAB before being reviewed by the AB. A final report should not being issued to a CAB by a third party or contract assessor for an AB. | understanding that some ABs now do not review the assessment reports before they are delivered to the lab, the committee felt strongly that review of the assessment report should not be contracted out. | 2022-03-22 | proposed language accepted by committee consensus, 4/19/22. §6.4.1.1 and 7.6.7.1 were modified .
78 | P |  | 7.8.3 | 7.8.3 Note – rather than refer to ‘this Volume in TNI’s Environmental Laboratory Sector Standards’, I would refer to Volume 1, in the same manner as the second sentence in this note refers to Volume 4. | remove second sentence of note | 2022-03-22
79 | P |  | 7.8.3.d | 7.8.3 d – I am unsure if the added text is meant to be a separate sub bullet, a separate requirement, or whatever. I would suggest that the TNI language be added as its own letter i) and refer to only 7.8.3 i) applying to Volume 1 to avoid any issue with someone incorrectly making the assumption that materials or products tested apply to this Standard. | remove the terms method, analyte and technology/matrix where interspersed in ISO text and add them as a new subsection 7.8.3.d.i | 2022-04-19 | Marlene submitted proposed language after the meeting, approved at 5/20/22 meeting (consensus)
80 | P |  | 7.9.3 | 7.9.3 I am not sure the solution to this but EPA Drinking Water has stated that after the pandemic that use of remote assessments would not be supported. This language was received from Dan Hautman from the Office of water on March 4, 2021 "Outside of the travel and social distancing limitations imposed by the pandemic and special considerations that have been afforded that included remote audits during this difficult time, the EPA Drinking Water Program would not consider the routine use of remote audits to consistently and effectively provide a sufficient degree of laboratory oversight from the state drinking water primacy program. For example, an auditor conducting a remote audit is limited to only seeing what the lab wishes to show the auditor through the webcam and auditors often catch things that can be significant findings through direct and indirect observation of lab staff and the lab work environment." Maybe a note should be included in the standard that regulatory agencies may have restrictions on the use of certain assessment techniques. |  | 4/19/2022, 5/20/22 | discussion that regulations override the Standard unless the Standard is more stringent, but this concept should be addressed in a different section (perhaps under Accreditation Scheme?). No language offered pending outcome of comment #89 about same issue. Discussed again, 5/20/22, this comment relates to comment 89 as well. Aaren will pose a question to the NELAP AC about preference for handling resolution
81 | not yet deter-mined |  | 7.9.3 | Section 7.9.3: EPA Drinking Water Program is not allowing the use of remote assessments or “other assessment techniques” to replace the onsite assessment as stated in the standard. As written, the standard allows ABs to perform remote or other assessments in place of onsite assessments in perpetuity. If ABs choose to do remote assessments of drinking water laboratories, there is a potential that the mutual recognition from one AB to another will be affected. Suggest adding a note to clarify that remote assessments may not be an option for some regulatory programs. Also suggest adding a limit to the time-frame between onsite assessments if remote or other assessment techniques are used in between. Due to the risk involved with the use of the data (e.g. public drinking water), it is not prudent to allow ABs in perpetuity to not perform an onsite assessment. | Aaren requests that the NELAP AC discuss this issue and provide input. Cathy will lead that discussion. AC discussion on May 2 was inconclusive. | 2022-04-19 | this comment relates to comment 81 also, per discussion on 5/20/22, and will be considered in light of further clarification from NELAP AC at a later date
82 | P |  | 7.9.3 | 7.9.3 re: 2-year assessment schedule: The TNI-added "note" seems to detract from what ISO was communicating, suggesting that review of an internal audit or PT data is comparable to a remote assessment. This "MAY" be what ISO intended in its very confusing section ... but this needs some additional thought and discussion as this is an important topic in the post-pandemic world. This language has taken a different meaning since March 2020!! | language to be drafted that clarifies usage of remote assessments to include technology requirements and criteria for deciding if a lab is eligible for remote assessments | 2022-09-25 | Aaren met with NELAP AC 9/12/22, and we await assurance from ALL NELAP ABs that they will be able to accept secondary accreditations when the assessment was done remotely.
83 | P |  | 7.9.4.2 | 7.9.4.2 I suggest using the phrase ‘as well as’ in lieu of the word ‘including’ in this section. |  | 2022-04-19
84 | P |  | 7.9.5 | 7.9.5 Note – similar to my comment regarding 7.6.6 b) 2, I suggest referencing a laboratory application for accreditation to serve as a defined source for ‘key personnel’. Failing that, Key Personnel should be defined in this Volume. | add "as determined by the AB" | 2022-04-19
85 | P | xx | 8.1.1 | V2M1 8.1.1 -- In general, public information laws make much of section 8.1.1 moot for governmental accreditation bodies. ORELAP strongly recommends keeping the note under section 8.1.1. | Note has been restored to Revised Draft Standard | 2022-05-19 | the note in question reads: "NOTE: The confidentiality of documents and records may be challenged in specific instances by public information requests under state or federal laws. [from V2M1, 7.10.2]"
86 | P |  | 8.2.2 | V2M1 8.2.2 -- ORELAP is concerned about the requirement to make publicly available, without request, information on suspensions and withdrawals of accreditation, including dates and scopes. ORELAP has been led to believe that “without request” generally means we must post this information on our website. If we had to post the notices on the website, this would be a significant amount of work to track. ORELAP proposes allowing accreditation bodies to use the Laboratory Accreditation Management System (LAMS) to make this information available. Currently, LAMS shows the suspended analytes and shows which laboratories are currently accredited. ORELAP strongly proposes adding a note about LAMS under section 8.2.2. Proposed Revision: “NOTE 2: Accreditation bodies may use the Laboratory Accreditation Management System (LAMS) to make this information publicly available.” |  | 2022-05-19 | Need input from ABs (both opinions and current practices) before preparing draft language to modify ISO text. Great concern that “without request” will put a huge burden on ABs for website updates/maintenance, and information is uploaded into LAMS biweekly, anyway.
87 | P |  | 8.2.2 | 8.2.2 This is new language expressing a new requirement for making “publicly available, without request” suspended FOAs or accreditation in full and withdrawn accreditation in full (per definitions of suspension and withdrawal within the document), “including dates and scopes”. LAMS does not have a way to manage this nor will most individual AB databases. ABs will need to understand how this would be assessed and the specific expectations before implementation and will need to be given time to build database queries to respond. LAMS or a database provided by TNI to house this information should be implemented if this requirement will not be modified from its ISO language. Not sure how this will be accomplished equitably by all states and as it will be dependent on each state’s IT response to comply. Seems like a major challenge and there’s no system built for it. This state’s LIMS system cannot be queried for ‘past suspension’ information, only for what is current in the moment. Unknown how this will be managed. Suggest that language be added that when an AB maintains current accreditation status language in LAMS (uploads at least every two weeks) the requirement is considered to have been met. |  | 2022-05-19 | same as comment 42
88 | P |  | 8.2.2 | Section 8.2.2: As written, the standard requires ABs to make publicly available without request information on laboratories including dates and scopes of labs that have withdrawn from accreditation. Information on laboratories that have withdrawn from accreditation are maintained in AB databases, but are not always available to the public. They can be obtained upon request. Requiring this information to be available without request will require significant financial resources for ABs to reprogram existing databases or purchase new databases. Suggest adding a note to allow ABs to make available information on laboratories that have withdrawn their accreditation upon request. |  | 2022-05-19 | same as comment 42
89 | P |  | 8.2.2 | 8.2.2 re: publicly available, "without request", language on suspensions: ... Suggested improvement by adding a note: Note: For purposes of compliance with the TNI Standard, this clause has been met when an accrediting body has maintained information on its laboratories, including current Field of Accreditation information, in the National Database maintained by TNI as long as the accrediting body can provide additional information upon request. | a clause will be added to state that this requirement is not applicable to TNI/NELAP | 2022-09-25 | see discussion in 8/2/22 conference minutes
90 | P |  | 9.7.2 | 9.7.2 states that internal audits are normally required annually. In order to be comparable to the laboratory Standard, TNI should add language that requires internal audits be performed annually, losing the ambiguity brought by the word ‘normally’. | should be parallel to expectations placed on labs | 2022-05-19 | Aaren will seek input from the other Lead Evaluators and draft language for the June 21 meeting
91 | P |  | 9.7.5 | 9.7.5 The first two sentences of this deleted requirement are important and should be retained. I don’t see that they exist elsewhere. | Quality Manual is no longer required, and "management system" phrasing encompasses "quality system" | 2022-06-21
A | P |  | all | In reviewing the proposed draft standard I noticed that both “CAB” and “conformity assessment body” are used interchangeably. For the purposes of continuity can you use “CAB” throughout the standard after the acronym is defined? |  | 2022-06-21
B |  |  | all | request that all requirements from current policies and SOPs be incorporated into V2M1 so that ABs will be able to reference the standard as sole source for compliance |  | 2022-06-21 | discuss more later
C | not voted | Y | all TNI text | use "must" instead of "shall" and add "must" to introductory language, making it a requirement the same as "shall" -- this is TNI decision | "must" added in §1.0 | 2022-06-21