Standard Update - Summary of Changes and Justification

Draft Standard DS-EL-V1M3-20261021

| # | Original Text | Change | Justification |  |
| --- | --- | --- | --- | --- |
| 1 | § 7.4.5a) Friable Materials. One (1) blank slide shall be prepared daily or with every fifty (50) samples analyzed, whichever is less. | DS; § 7.4.5a) Friable Materials: Each analyst shall prepare one (1) initial blank slide and one (1) additional blank slide every fifty (50) samples analyzed thereafter per day. | Language could or has been interpreted such that laboratories are not analyzing a sufficient number of blanks by each analyst each day. |  |
| 2 | Current EL-V1M3 calls for use of NIST standard 2063a which is currently unavailable. See § 7.2.1.1e)iii | No change in language but reference to Annex for substitute SRM materials hs been added. | DS; 7.2.1.1e)iii now reads: “NIST SRM 2063a or similar standard (see Annex A)…” |  |