## Sheet1
Response to Comments - EL V4-2025-Rev. 3.0
Comment number | Date Submitted2 | Section/ Clause | Comment | Suggested Langauge (if Provided) or additional rational for comment | Editorial | Vote (Persuasive/ non-persuasive) | Committee Justification for Vote | Committee action | Date Comment Reviewed and Voted | Committee comment
1 | 2025-08-28 | 4.1.c | The use of the term "the" implies that there is one definitive organiztion | Change "the" to "an' | No | Persuasive | PTEC - changed | update | 2026-03-06 | CG 3Mar2026 - changed to "an"
2 | 2025-08-04 | 6.1 | The accredited PTP should be assessed by the PTPAB for some additional objects of conformity… | Consider and add the folowing: "(j) metrological traceability of the assigned values achieved where feasible, and (k) assigned values are verified for accuracy and sensitivity. | No | Non-persuasive | PTEC to consider in future revisions. TABLED | None at this time | 2026-03-06 | CG 3Mar2026 - added as comment for Committee to consider
3-5 RESERVED
6 | 2025-08-03 | 0 | replace term "process" with Procedure |  | No | Non-persuasive | PTEC - terms are not equivalent and have specific usage associated (procedure requires instructions, process not necessarily and may require more than just instructions), the standard has been revised to align with ISO language | none | 2026-01-09 | If training is made for this standard ensure that when "process" and "procedure" are used the implementation expectations are explained. CG 3Mar2026 - did add comments to each instance for committee to consider
7 | 2025-08-28 | 1.1 | use the term "proficiency test provider" as opposed to conformity assessment body |  | No | Non-persuasive | PTEC - the use of the terms CAB and PTP are defined clearly in Section 1 and used consistently throughout the document | none | 2026-01-09 | no action required
8 | 2025-08-03 | 3 | Comprehensive Assessment - delete the second sentence of the definition as this is process-related and shouldn’t be included in the definition, but in the body of the Standard (as in 5.5.1). Delete the requirement in the definition of ‘every two years’ since that appears in the Standard. | a thorough and systematic evaluation conducted by a PTPAB to examine all aspects of a PTP’s organizational structure, processes, capabilities, and competence. | deletion of 2 years is, rest not | Persuasive | PTEC Comprehensive assessment can happen more frequently than every 2 years. Agree that second sentence is part of requirements and will be added to 5.5.1 | revise as described | 2026-01-09 | CG 3Mar2026 - removed "every 2 years" from definition. Moved last sentence from definition to section 5.5.1 new e) requirement.
9 | 2025-08-03 | 3 | delete the acronyms from both the term and within the body of the definition. Acronyms are to be spelled out at their first usage only, and not within definitions. FoPT was previously spelled out in the note following 1.2, and PTPEC was spelled out in 1.2. To be clear, the issue is not with the use of the acronym in the definition, but the use of the term and acronym combined – that is unnecessary in a definition. This applies to the following - Proficiency Testing (PT), Proficiency Testing Program (PT Program), Proficiency Testing Program Executive Committee (PTPEC), Proficiency Testing Provider (PTP), Proficiency Testing Provider Accreditation Body (PTPAB), Proficiency Testing Sample (PT Sample). |  | Yes | Non-persuasive | PTEC - disagree with suggestion and the current TNI Form and Style is aligned to current El-V4 draft. The inclusion of the acroynms with the definition makes it more User friendly for looking up the terms. The definition of the acronym should be in the definition section for improved usage of the document. | none | 2026-01-09 | no action required
10 | 2025-08-03 | 3 | PT - A means to evaluate a laboratory’s performance, under controlled conditions, relative to a given set of criteria, through analysis of unknown samples provided by an external source. | ISO/IEC 17043 defines this as ‘evaluation of participant performance against pre-established criteria by means of interlaboratory comparisons’. We should be using an ISO/IEC definition where one exists. This is the definition that is scheduled to appear in TNI EL-V1M2-2025 Rev 4. | Yes | Non-persuasive | PTEC - need to align within TNI, but updated definition still in draft | may need to update based on TNI QMSEC | 2026-01-09 | PTEC will align with EL-V1M2 CG 3Mar2026 - added to the draft for committee review and decision after confirming from final draft of EL-V1M2 that changes are incorporated as indicated (and are)
11 | 2025-08-03 | 3 | PT Program - The aggregate of providing rigorously controlled and standardized environmental samples to a laboratory for analysis, reporting of results, statistical evaluation of results, and the collective demographics and results summary of all participating laboratories. [for consistency with other Modules, a comma should be added after ‘statistical evaluation of results’] |  | Yes | Persuasive | PTEC - list requires comma before "and" | corrected | 2026-01-09 | CG 3Mar2026 - added
12 | 2025-08-03 | 3 | PTPEC - A volunteer committee within TNI that establishes and maintains the TNI PT program. SOP 2-100 has this defined as ‘The committee responsible for the administration and maintenance of the TNI Proficiency Testing program.’ |  | Yes | Persuasive | PTEC - update to align with SOP 2-100 | correct | 2026-03-06 | CG 3Mar2026 - updated definition to align with SOP 2-100
13 | 2025-08-03 | 3 | PTP - A conformity assessment body seeking initial or renewed accreditation by a TNI- recognized Proficiency Testing Provider Accreditor to operate a TNI PT program. Currently, V1M1 and V2M2 define this as ‘A person or organization accredited by a TNI-approved Proficiency Testing Provider Accreditor to operate a TNI-compliant PT program.’ Clearly ‘a person’ is incorrect. I would argue that the definition including ‘seeking initial or’ should be removed, because you aren’t a Proficiency Testing Provider if you are seeking accreditation. Whichever definition is used will need to be consistently used in all PT Modules, as well as the LAB Module. |  | No | Persuasive | PTEC - agree, remove "person" as it is "organization" suggest to remove "initial and renew" | none required | 2026-03-06 | CG 3Mar2026 - flagged definition for committee review to see if want to update across all standards
14 | 2025-08-03 | 3 | PT Study - other than in 6.1.1 and 6.1.2, the term is always PT Study and never just Study. I suggest you only define PT Study and remove the term ‘Study’, as its use is obvious in the body of the Standard. |  | Yes | Persuasive | PTEC - confirmed and agree | noted to correct in section 6 | 2026-01-09 | CG 3Mar2026 - completed
15 | 2025-08-03 | 3 | Scheduled PT Study - A single complete sequence of circulation and scoring of proficiency testing samples to all participants in a proficiency testing program where the study must have the same pre-defined opening and closing dates for all participants. |  | see comment 16 | see comment 16 | see comment 16 | see comment 16 | 2026-03-06 | see comment 16
16 | 2025-08-03 | 3 | Supplemental PT Study - A PT sample that may be from a lot previously released by a PT Provider that meets the requirements for supplemental PT samples given in EL-V3 of this Standard, but that does not have a pre-determined opening and closing date. | For consistency between these two definitions, the committee should use either PT or Proficiency Testing in these two definitions. Neither term is used in EL-V4, so are they needed here? I think not. If they are kept, shouldn’t the closing date be stated as not more than 45 days after the opening date? Or as ‘A PT sample that may be from a lot previously released by a PT Provider that meets the requirements for supplemental PT samples given in EL-V3 of this Standard, which opens when the PT sample is shipped, and closes when the sample is reported or after 45 days (whichever is sooner).’ | Yes | Persuasive | PTEC - use PT as already defined move definitions to EL-V3 and consider the rest of the comment in EL-V3 discussion | update | 2026-03-06 | CG 3Mar2026 - removed Scheduled PT Study and Supplemental PT Study from standard. Add comment to EL-V3
17 | 2025-08-03 | 0 | references to TNI EL-V3 should be in the form of TNI EL-V3-2025 Rev 3.0 |  | Yes | Persuasive | PTEC - will comply with Style Guide | update | 2026-03-06 | CG 3Mar2026 - all references have been updated to current version (2024 rev 3.0)
18 | 2025-08-03 | 0 | 5.1.1, 5.1.2, 5.2.1, 5.3, 5.4, 5.5, 5.5.2, 5.6.1, and 5.6.2 - these sections use the terms ‘establish and implement’ or ‘implement and operate’, or ‘establish and maintain’, as well as ‘have a procedure and implement a process’ in 5.7.2. In other parts, the phrase ‘procedure must include’ seems to suffice. Given the use of multiple words where one may work, are these intended to be different from stating ‘procedure must include’ or ‘have a procedure’? If so, it isn’t obvious from reading why they are different. I suggest the simpler language of ‘procedure must include’ or ‘have a procedure’. |  | No | Persuasive | PTEC will review to ensure the intent of the requirement is clear to the User | review and update as needed | 2026-03-06 | CG3Mar2026 - flagged all instances of "process" and "establish and implement" variations for committee to review and ensure intent is clear (related to comment #6)
19 | 2025-08-03 | 5.4 | The PTPAB must establish and implement a process to suspend or revoke the PTP’s accreditation if assessment or monitoring activities determine the PTP is no longer in conformance with TNI EL-V3. How ‘out of compliance’ must they be to be suspended or revoked? Is one finding ‘out of compliance’? | Suggested language – ‘The PTPAB must have a procedure that describes actions that result in the suspension or revocation of the PTP’s accreditation. The procedure must be based on assessment or monitoring of the PTP.’ | No | Non-persuasive | PTEC - leave as is, but consider "procedure" or "process or procedure" instead of just "process" |  | 2026-03-06 | CG 3Mar2026 - added suggested language as comment for committee consideration
20 | 2025-08-03 | 5.5.1 | suggest deleting the (2) from the sentence. It is clearly stated with ‘two’. This requirement doesn’t offer any allowance beyond ‘two years’. Should there be one? Suggested language - After the successful initial accreditation, the PTPAB must conduct a comprehensive assessment of the PTP every two years (not to exceed two years and six months). The purpose of this assessment is to determine the PTP’s competency and conformance with the requirements of TNI EL-V3-2025 Rev 3.0. |  | No | Persuasive | CG 3Mar2026 - section reference is incorrect, should be 5.2.1 | revise section | 2026-03-06 | CG 3Mar2026 - proposed language included as comment for committee review
21 | 2025-08-03 | 5.5.2 | I suggest deleting ‘minimally’, as the Standard is the minimum that must be met. 5.5 d states that there must be ‘at least one surveillance assessment between comprehensive assessments’, but 5.5.2 d makes a requirement to have a risk-based assessment of how many surveillance assessments must occur. What if that risk-based assessment reaches the conclusion that none are required? On another view, since there must be at least one surveillance assessment per 5.5 d, there’s no limitation on the number that may be made if necessary. Suggested wording for 5.5.2 d – ‘the determination that an extraordinary surveillance assessment is required.’ |  | No | Non-persuasive | PTEC - agree to remove "minimally" disagree with rest as committee had decided that at least 1 surveillance audit was required between comprehensive | remove "minimally" | 2026-03-06 | CG 3Mar2026 - done
22 | 2025-08-03 | 5.7.1 | again, suggest deleting ‘minimally’. What is the timeframe for this presentation? Is it since the last one? In the last year? Ever? That should be specified in the Standard. |  | No | Persuasive | PTEC - need to ensure this is an annual requirement, see comments / changes on the draft | remove "minimally" | 2026-03-06 | CG 3Mar2026 - done, inserted comment to consider changing "annually" to "during the summer TNI meetings"
23 | 2025-08-03 | 5.7.1.a | Suggest rewording to ‘a complete list of PTPs accredited to the PT program, their accreditation status, and any withdrawals,’ |  | Yes | Persuasive | PTEC - changed | update | 2026-03-06 | CG 3Mar2026 - update completed during Boston meeting (Jan 12 2026)
24 | 2025-08-03 | 6.1.1. | are the chosen analytes also supposed to be randomly selected? |  | No | Persuasive | need a requirement to check that the selection of analytes is random, perhaps reference EL-V3 section to condense this list as EL-V3 is normative |  | 2026-03-06 | CG 3Mar6 - captured comments for committee review for this section on the draft
25 |  | 3 | Comprehensive Assessment - The purpose of this assessment is to demonstrate the PTP’s fulfillment of competence and other requirements of TNI Standard EL-V3. | (Commentor) RATIONALE: Accreditation does not determine competence on a subjective basis in the absence of requirements. Accreditation, by definition in ISO/IEC 17000 relates to a demonstration that a conformity assessment body fulfills requirements for competence, impartiality and consistent operation | No | Non-persuasive | PTEC resolved through actions of comment #8 | resolve through actions of comment #8 | 2026-01-09 | CG 3Mar2026 addressed through comment #8
26 |  | 4.1.c&d | d) be a signatory of the International Laboratory Accreditation Cooperation (ILAC) Mutual Recognition Arrangement or of the Asia Pacific Accreditation Cooperation (APAC) Mutual Recognition Arrangement for accreditation to ISO/IEC 17025 and ISO/IEC 17043. | redundant with item d;Grammar and to clarify that being a signatory to the MRA in either organization is the requirement | No | Non-persuasive | PTEC to consider in future revisions. TABLED | none at this time | 2026-03-06 | PTEC to consider in future revisions. TABLED
27 |  | 5.1.1 | The PTPAB must establish and implement an initial accreditation process that demonstrates the PTP: | RATIONALE: Accreditation, by definition in ISO/IEC 17000 relates to a demonstration that a conformity assessment body fulfills requirements for competence, impartiality and consistent operation | No | Persuasive | PTEC - see change proposed in Draft consider combining requirements in 5.1 so it reads as a sentence with a and b and then the new d, e, and f become a, b, c | None | 2026-03-06 | CG 3Mar2026 - Changes drafted during the Boston meeting (Jan 12 2026) have been incorporated into the updated draft.
28 |  | 5.1.1.a | The PTPAB must establish and implement an initial accreditation process that demonstrates the PTP: a0 fulfills ISO/IEC 17043 | RATIONALE: This is strange wording. In the initial accreditation process the PTP must already be accredited to 17043? It seems to make more sense that the initial accreditation process will demonstrate fulfillment of requirements in ISO/IEC 17043 as well as the requirements in subitems b and c | No | Non-persuasive | See comment in #27 | None | 2026-03-06 | CG 3Mar2026 - Changes drafted during the Boston meeting (Jan 12 2026) have been incorporated into the updated draft.
29 |  | 5.1.1.c | The PTPAB must establish and implement an initial accreditation process that demonstrates the PTP: c) fulfills TNI EL-V3 requirements for the technical expertise, administrative capacity, and financial resources necessary to implement and operate a PT program | RATIONALE: Accreditation, by definition in ISO/IEC 17000 relates to a demonstration that a conformity assessment body fulfills requirements for competence, impartiality and consistent operation | No | Non-persuasive | See Comment in #27 | None | 2026-03-06 | CG 3Mar2026 - Changes drafted during the Boston meeting (Jan 12 2026) have been incorporated into the updated draft.
30 |  | 5.1.2.a | The PTPAB’s initial accreditation process must: | RATIONALE: Redundant with 5.1.1 c | No | Non-persuasive | See comment #27 | None | 2026-03-06 | CG 3Mar2026 - Changes drafted during the Boston meeting (Jan 12 2026) have been incorporated into the updated draft.
31 |  | 5.2.1 | The PTPAB must establish and implement a process for PTP accreditation renewal not . . . | RATIONALE: A PTP is accredited, not a PT program | Yes | Persuasive | PTEC - removed extra word not intended | change "program" to PTP | 2026-03-06 | CG 3Mar2026 - updated
32 |  | 5.2.2 | The accreditation renewal process must include a comprehensive assessment to demonstrate the PTP’s on-going conformance with TNI EL-V3. | RATIONALE: Accreditation, by definition in ISO/IEC 17000 relates to a demonstration that a conformity assessment body fulfills requirements for competence, impartiality and consistent operation | No | Non-persuasive | PTEC - no change want to define the assessment type and the assessment criteria to be specific to TNI EL-V3 not 17011 or 17043 | none | 2026-03-06 | no action required
33 | 2025-09-17 | 1 | add section acknowleging all committee members |  | Yes | Persuasive | PTEC - missing essential requirement as per updated TNI Form and Style | draft and add | 2026-01-09 | CG 3Mar2026 - added
34 | 2025-09-22 | 6.1.2.b | Insert a word | Insert "that". So it reads "verification that corrective action…" | Yes | Persuasive | PTEC - changed | update | 2026-03-06 | CG 3Mar2026 - update completed during Boston meeting (Jan 12 2026)
35 | 2025-09-04 | 2 | "Unless otherwise specified, the most recent edition of the reference document applies." This language is open-ended and there is concern that a "recent edition" does not clearly defined an adopted standard. By not defining the specific date or reference to the standard, there is room for interpretation. This is also inconsistent with other TNI standards. | TNI SOP 2-103 "Format and Style Guide for Consensus Standards " Section 6.9 should be followed. | Yes | Persuasive | PTEC - TNI Form and Style was updated and the inclusion of year references is required through that document. | add year references | 2026-01-09 | CG 3Mar2026 - added years to all references
36 | 2025-09-04 | 3 | "Comprehensive Assessment: a thorough" - grammatical comment - A should be capitalized for consistency. |  | Yes | Persuasive | PTEC - agree | done | 2026-01-09 | CG 3Mar2026 - completed 9Jan2026
37 | 2025-09-04 | 3 | Terms and Definitions - Have the definitions been compared to the TNI standard definitions to ensure consistency? |  | not a comment | Non-persuasive | PTEC - Yes they have | none required | 2026-01-09 | no action required
38 | 2025-09-04 | 4 | Acronym clarification. For consistency across standards, should there be a space between PTP and AB (PTP AB)? |  | Yes | Persuasive | PTEC - we will follow with what TNI decides as Form and Style | change all "PTPAB" to "PTPA" | 2026-03-06 | CG 3Mar2026 - already completed previously (likely a find and replace all at a different committee meeting)
39 | 2025-09-04 | 6.1.2 | "maintenance of records, including any communications between the PTPAB and the PTP, for each study evaluation for the duration specified by the PTPEC". What does "duration specified by the PTPEC" refer to? The PTPEC does not define how long records are maintained. This should be defined in the standards. |  | Yes | Persuasive | PTEC - changed - see strikethrough | update | 2026-03-06 | CG 3Mar2026 - update completed during Boston meeting (Jan 12 2026)