Response to Comments – Field – Volume 1

Date: November 20, 2024

Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.

| Comment Number | Vote & Justification (Persuasive/non-persuasive) | Editorial (Y/N) | Section/Clause | Comment | Committee Action | Date Addressed | Committee Comment | Date Submitted | Date & Method of Submitter Notification |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Non-persuasive | N | 3 | Please remember to add the definition of Data Integrity into the glossary as it is an integral part of the expanded data integrity section in the Standard. | No change made to Standard. | 11/20/24 | Data Integrity: The condition that exists when data are sound, correct, and complete, and accurately reflect activities and requirements. Data Integrity is a common and consistently used term and does not need to be redefined in the Standard. This suggestion will be recommended for review during the next Standard update. | 8/18/24 | 12/29/24 Email |
| 2 | Non-persuasive | Y | General | Need consistency on how Notes are marked; varies within document. | No change made to Standard. | 11/20/24 | TNI used the same format as ISO/IEC for notes. The word NOTE is capitalized, and notes are numbered when there is more than one note under a clause/section. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 3 | Non-Persuasive | Y | 3 | Terms and Definitions: It would be great if this section could be alphabetized. | No change made to Standard. | 11/20/24 | ISO/IEC language and numbering for definitions is maintained, but TNI definitions are alphabetized. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 4 | Non-Persuasive | Y | 5.4 | FSMO activities shall be carried out in such a way as to meet the requirements of this document, the FSMO’s customers, regulatory authorities and organizations providing recognition. These requirements shall include FSMO activities performed in all its permanent facilities, at sites away from its permanent facilities, in associated temporary or mobile facilities or at a customer's facility. | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 5 | Non-Persuasive | Y | 6.2.3 | The FSMO shall ensure that the personnel have the competence to perform FSMO activities for which they are responsible and to evaluate the significance of deviations. This task shall also include any certifications or licenses required. | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 6 | Persuasive | Y | 6.2.3 Note | Note: A demonstration of capability may be used to demonstrate competence for a field test activity. An observation or witness of technique by a trainer may be more appropriate for sample collection activities. Additionally, these observations may be combined with internal audit activities. Examples of demonstration of capability can be found in Annex C. | Editorial Change: NOTE: A demonstration of capability may be used to demonstrate competence for a field test measurement. | 11/4/24 | For clarity, the word “measurement” was added instead of “activity”. This keeps the terminology consistent with the language in Annex C.2. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 7 | Persuasive | Y | 6.2.5 | Note: FSMO personnel should take precautions necessary to protect the safety of the personnel involved in sampling and the security of the samples. Procedures concerning safety should consider the nature of the samples and the areas from which they are collected, as well as equipment involved. These precautions may include vehicle operation. | Editorial Change: Note: FSMO personnel should take precautions necessary to protect the safety of the personnel involved in sampling and the security of the samples. Procedures concerning safety should consider the nature of the samples and the areas from which they are collected, as well as equipment involved. These precautions may include vehicle operation. | 11/20/24 | Editorial change made as recommended for clarity. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 8 | Non-persuasive | Y | 6.2.6 | The FSMO shall authorize personnel to perform specific FSMO activities, including but not limited to, the following: d) development, execution, modification, verification and validation of methods; | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 9 | Persuasive | Y | 6.3.4 | NOTE: During field tests activities and while handling samples, personnel should avoid areas where activities or conditions may adversely affect results, such as temporarily storing samples near volatile liquids, or transporting test sample items between areas of high temperature contrast. | Editorial Change: NOTE: During field tests activities and while handling samples, personnel should avoid areas where activities or conditions may adversely affect results, such as temporarily storing samples near volatile liquids, or transporting test items samples between areas of high temperature contrast. | 11/20/24 | Editorial change made as recommended for clarity. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 10 | Non-Persuasive | Y | 6.4.2 | When the FSMO uses measurement equipment outside its permanent control, it shall ensure that the equipment requirements for equipment of this document are met. | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 11 | Non-Persuasive | Y | 6.4.5 | The Equipment used for measurement shall be capable of achieving the measurement accuracy and/or measurement uncertainty required to provide a valid result. | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 Email |
| 12 | Non-Persuasive | N | 7.3.2 | The sampling method shall describe: a. the selection of samples or sites; b. the sampling plan; c. the preparation and treatment of sample(s) from a substance, material or product to yield the required item for subsequent testing or calibration. Comment: Should this be "plan" and 7.3.2 (b) should be changed from "plan" to "method"? | No change made to Standard. | 11/20/24 | This is ISO/IEC language and cannot be changed. | - Informed that comments were being prepared on 10/16/24 – rec’d 11/4/24 | 12/29/24 |